## Ingegneria
SIMATIC WinCC Engineering
|  | Download | Package
SIMATIC WinCC Engineering System Base Packages |  | MLFB | MLFB | Note
New! | WinCC Unified Basic ES V19 | 6AV2151-0XA02-3LA5 | 6AV2151-0XA02-3AA5
| WinCC Unified Comfort ES V19 | 6AV2151-0XB02-3LA5 | 6AV2151-0XB02-3AA5
| WinCC Basic V19 | 6AV2100-0AA02-3AH5 | 6AV2100-0AA02-3AA5
| WinCC Comfort V19 | 6AV2101-0AA02-3AH5 | 6AV2101-0AA02-3AA5
SIMATIC WinCC Engineering Trial License |  | MLFB | MLFB | Note
| STEP 7 / WinCC Basic/Comfort/Advanced/Unified V19, Trial License | Download in Customer Support Portal | 6AV2102-0AA02-3AA7
SIMATIC WinCC Engineering System Powerpacks |  | MLFB | MLFB | Note
New! | WinCC Unified Comfort ES Powerpack | 6AV2151-0XB20-0LB5 | 6AV2151-0XB20-0AB5 | Basic Unified ➡ Comfort Unified
| WinCC Comfort Powerpack | 6AV2101-2AA00-0BJ5 | 6AV2101-2AA00-0BD5 | Basic ➡ Comfort
SIMATIC WinCC Engineering Upgrades |  | MLFB | MLFB | Note
New! | WinCC Unified Basic ES Upgrade | 6AV2151-0XA32-3LA5 | 6AV2151-0XA32-3AA5 | V18 ➡ V19
| WinCC Unified Comfort ES Upgrade | 6AV2151-0XB32-3LA5 | 6AV2151-0XB32-3AA5 | V16..V18 ➡ V19
| WinCC Basic V19 Upgrade | 6AV2100-3AA02-3AK5 | 6AV2100-3AA02-3AE5 | V11..V18 ➡ V19
| WinCC Comfort V19 Upgrade | 6AV2101-3AA02-3AK5 | 6AV2101-3AA02-3AE5 | V11..V18 ➡ V19
| WinCC Comfort V19 Upgrade Flexible 2008 Compact V19 Combo | 6AV2101-4AB02-3AK5 | 6AV2101-4AB02-3AE5 | Flexible 2008 Compact ➡ Comfort V19 Combo
| WinCC Comfort V19 Upgrade Flexible 2008 Standard V19 Combo | 6AV2101-4BB02-3AK5 | 6AV2101-4BB02-3AE5 | Flexible 2008 Standard ➡ Comfort V19 Combo
SIMATIC WinCC Unified Software Update Service |  | MLFB | MLFB | Note
| WinCC Unified Comfort | 6AV2151-0XB00-0LY5 | n.a.
| WinCC Comfort (Standard Edition) | 6AV6612-0AA00-0AY0 | 6AV6612-0AA00-0AL0
| WinCC Comfort (Compact Edition) | n.a. | 6AV6612-0AA00-0AM0 | Un solo supporto fisico per tutte le licenze ordinate

## Opzioni
SIMATIC Panels Options
|  | Download | Package
SIMATIC WinCC Sm@rtServer |  | MLFB | MLFB | Note
| WinCC Sm@rtServer for SIMATIC Panels | 6AV2107-0CP00-0BH0 | 6AV2107-0CP00-0BB0 | Necessario solo per WinCC V11..V13
| WinCC Sm@rtServer for Basic Panels | 6AV2107-0CR00-0BH0 | 6AV2107-0CR00-0BB0 | Necessario solo per WinCC V14..V16
SIMATIC WinCC Unified Clients |  | MLFB | MLFB | Note
| WinCC Unified Client Operate Panel (1) | 6AV2151-1JW00-0LB0 | 6AV2151-1JW00-0AB0 | Valida solo per pannelli Unified
| WinCC Unified Client Operate Panel (5x1) | 6AV2157-5JV00-0LB0 | 6AV2157-5JV00-0AB0 | 5 licenze separate, valide solo per pannelli Unified
| WinCC Unified Client Monitor Panel (1) | 6AV2151-1JM00-0LB0 | 6AV2151-1JM00-0AB0 | Valida solo per pannelli Unified
SIMATIC WinCC Collaboration |  | MLFB | MLFB | Note
| WinCC Unified Collaboration V19 | 6AV2154-0BR02-3LB0 | 6AV2154-0BR02-3AB0
| WinCC Unified Collaboration (3x1) V19 | 6AV2154-3JR02-3LB0 | 6AV2154-3JR02-3AB0 | 3 licenze separate
WinCC Unified Audit |  | MLFB | MLFB | Note
| WinCC Unified Audit Basis V19 | 6AV2157-0BL02-3LB0 | 6AV2157-0BL02-3AB0
| WinCC Unified Audit Enhanced V19 | 6AV2157-1BL02-3LB0 | 6AV2157-1BL02-3AB0
| WinCC Unified Audit Powerpack V19 | 6AV2157-1BL20-0LB0 | 6AV2157-1BL20-0AB0 | Basis ➡ Enhanced

## Basic&Key
SIMATIC Basic & Key Panels
Key Panels |  | MLFB | Note
| KP8F PN | 6AV3688-3AF37-0AX0
| KP8 PN | 6AV3688-3AY36-0AX0
| KP8 Design blank front | 6AV3688-3XY38-3AX0 | KP8 "vuoto" per montaggio componenti 22.5mm
| KP8 PN LX 6mm | 6AV2127-1AB00-0LX1
| KP32F PN | 6AV3688-3EH47-0AX0
Basic Panels 1st generation |  | MLFB | Note
| SIMATIC HMI KP300 Basic mono PN | 6AV6647-0AH11-3AX1
| SIMATIC HMI KP400 Basic color PN | 6AV6647-0AJ11-3AX1
Basic Panels 2nd generation |  | MLFB | Note
| KTP400 Basic | 6AV2123-2DB03-0AX0
| KTP700 Basic | 6AV2123-2GB03-0AX0
| KTP700 Basic DP | 6AV2123-2GA03-0AX0
| KTP900 Basic | 6AV2123-2JB03-0AX0
| KTP1200 Basic | 6AV2123-2MB03-0AX0
| KTP1200 Basic DP | 6AV2123-2MA03-0AX0
Unified Basic Panels |  | MLFB | Note
New! | MTP400 Unified Basic | 6AV2123-3DB32-0AW0
New! | MTP700 Unified Basic | 6AV2123-3GB32-0AW0
New! | MTP1000 Unified Basic | 6AV2123-3KB32-0AW0
New! | MTP1200 Unified Basic | 6AV2123-3MB32-0AW0
School/Trainer Packages |  | MLFB | Note
| School Package KTP400 Basic / XB005 | 6AV2123-2DB03-0AA1 | 1x package
| School Package KTP400 Basic / XB005 | 6AV2123-2DB03-0AA0 | 6x package
| School Package KTP700 Basic / XB005 | 6AV2123-2GB03-0AA1 | 1x package
| School Package KTP700 Basic / XB005 | 6AV2123-2GB03-0AA0 | 6x package

## Comfort
SIMATIC Comfort Panels
Comfort Panels |  | MLFB | Note
| KP400 Comfort | 6AV2124-1DC01-0AX0
| KTP400 Comfort | 6AV2124-2DC01-0AX0
| KP700 Comfort | 6AV2124-1GC01-0AX0
| TP700 Comfort | 6AV2124-0GC01-0AX0
| KP900 Comfort | 6AV2124-1JC01-0AX0
| TP900 Comfort | 6AV2124-0JC01-0AX0
| KP1200 Comfort | 6AV2124-1MC01-0AX0
| TP1200 Comfort | 6AV2124-0MC01-0AX0
| KP1500 Comfort | 6AV2124-1QC02-0AX1 | Sales restriction, ordinabile solo tramite BU
| TP1500 Comfort | 6AV2124-0QC02-0AX1 | Sales restriction, ordinabile solo tramite BU
| KP1500 Comfort | 6AV2124-1QC02-0AX2
| TP1500 Comfort | 6AV2124-0QC02-0AX2
| TP1900 Comfort | 6AV2124-0UC02-0AX1
| TP2200 Comfort | 6AV2124-0XC02-0AX1
Comfort Panels Speciali |  | MLFB | Note
| TP700 Comfort Outdoor | 6AV2124-0GC13-0AX0
| TP1500 Comfort Outdoor | 6AV2124-0QC13-0AX0
| TP700 Comfort INOX | 6AV2144-8GC10-0AA0
| TP900 Comfort INOX | 6AV2144-8JC10-0AA0
| TP1200 Comfort INOX | 6AV2144-8MC10-0AA0
| TP1200 Comfort INOX LF | 6AV2144-8MC10-0AC0 | Frontale lungo
| TP1500 Comfort INOX | 6AV2144-8QC10-0AA2
| TP1900 Comfort INOX | 6AV2144-8UC10-0AA1
| TP700 Comfort INOX PCT | 6AV2144-8GC20-0AA0
| TP900 Comfort INOX PCT | 6AV2144-8JC20-0AA0
| TP1200 Comfort INOX PCT | 6AV2144-8MC20-0AA0
Accessori Comfort Panels Speciali |  | MLFB | Note
| Service package for TP700 INOX | 6AV2185-4GA00-0AX0
| Service package for TP900 INOX | 6AV2185-4JA00-0AX0
| Service package for TP900 INOX PCT | 6AV2185-4JA10-0AX0
| Service package for TP1200 INOX | 6AV2185-4MA00-0AX0
| Service package for TP1200 INOX LF | 6AV2185-4MA01-0AX0 | Frontale lungo
| Service package for TP1500 INOX | 6AV2185-4QA00-0AX0
| Service package for TP1900 INOX | 6AV2185-4UA00-0AX0

## Comfort Unified
SIMATIC Unified Comfort Panels
Unified Comfort Panels |  | MLFB | Note
| MTP700 Unified Comfort | 6AV2128-3GB06-0AX1
| MTP1000 Unified Comfort | 6AV2128-3KB06-0AX1
| MTP1200 Unified Comfort | 6AV2128-3MB06-0AX1
| MTP1500 Unified Comfort | 6AV2128-3QB06-0AX1
| MTP1900 Unified Comfort | 6AV2128-3UB06-0AX1
| MTP2200 Unified Comfort | 6AV2128-3XB06-0AX1
| MTP700 Unified Comfort Neutral | 6AV2128-3GB36-0AX1
| MTP1000 Unified Comfort Neutral | 6AV2128-3KB36-0AX1
| MTP1200 Unified Comfort Neutral | 6AV2128-3MB36-0AX1
| MTP1500 Unified Comfort Neutral | 6AV2128-3QB36-0AX1
| MTP1900 Unified Comfort Neutral | 6AV2128-3UB36-0AX1
| MTP2200 Unified Comfort Neutral | 6AV2128-3XB36-0AX1
Unified Comfort Panels Hygienic Design |  | MLFB | Note
New! | MTP700 Unified Comfort Hygienic | 6AV2128-3GB40-0AX0
New! | MTP1000 Unified Comfort Hygienic | 6AV2128-3KB40-0AX0
New! | MTP1200 Unified Comfort Hygienic | 6AV2128-3MB40-0AX0
New! | MTP1500 Unified Comfort Hygienic | 6AV2128-3QB40-0AX0
New! | MTP1900 Unified Comfort Hygienic | 6AV2128-3UB40-0AX0
New! | MTP2200 Unified Comfort Hygienic | 6AV2128-3XB40-0AX0
New! | MTP700 Unified Comfort Hygienic Neutral | 6AV2128-3GB70-0AX0
New! | MTP1000 Unified Comfort Hygienic Neutral | 6AV2128-3KB70-0AX0
New! | MTP1200 Unified Comfort Hygienic Neutral | 6AV2128-3MB70-0AX0
New! | MTP1500 Unified Comfort Hygienic Neutral | 6AV2128-3QB70-0AX0
New! | MTP1900 Unified Comfort Hygienic Neutral | 6AV2128-3UB70-0AX0
New! | MTP2200 Unified Comfort Hygienic Neutral | 6AV2128-3XB70-0AX0
Unified Comfort Panels Hygienic Design |  | MLFB | Note
New! | MTP700 Unified Comfort Hygienic Service Kit | 6AV2185-4GA20-0AX0 | Prodotto non ancora disponibile
New! | MTP1000 Unified Comfort Hygienic Service Kit | 6AV2185-4KA20-0AX0 | Prodotto non ancora disponibile
New! | MTP1200 Unified Comfort Hygienic Service Kit | 6AV2185-4MA20-0AX0 | Prodotto non ancora disponibile
New! | MTP1500 Unified Comfort Hygienic Service Kit | 6AV2185-4QA20-0AX0 | Prodotto non ancora disponibile
New! | MTP1900 Unified Comfort Hygienic Service Kit | 6AV2185-4UA20-0AX0 | Prodotto non ancora disponibile
New! | MTP2200 Unified Comfort Hygienic Service Kit | 6AV2185-4XA20-0AX0 | Prodotto non ancora disponibile
Trainer Packages |  | MLFB | Note
| Trainer Package HMI, MTP700 Comfort | 6AV2128-3GB06-4AB1
| Trainer Package HMI, MTP1500 Comfort | 6AV2128-3QB06-4AB1

## Accessori
Accessori SIMATIC Panels
Pellicole |  | MLFB | Note
| Protective film 9" Widescreen, Type 2 | 6AV2181-3JJ20-0AX0 | Per pannelli KTP900 Basic
| Protective film 12" Widescreen, Type 2 | 6AV2181-3MJ20-0AX0 | Per pannelli KTP1200 Basic
| Protective film 7" front, type 5 | 6AV6881-0GJ22-0AA0 | Per pannelli Comfort Unified
| Protective film 10" front, type 5 | 6AV6881-0KJ22-0AA0 | Per pannelli Comfort Unified
| Protective film 12" front, type 5 | 6AV6881-0MJ22-0AA0 | Per pannelli Comfort Unified
| Protective film 15" front, type 5 | 6AV6881-0QJ22-0AA0 | Per pannelli Comfort Unified
| Protective film 19" front, type 5 | 6AV6881-0UJ22-0AA0 | Per pannelli Comfort Unified
| Protective film 22" front, type 5 | 6AV6881-0VJ22-0AA0 | Per pannelli Comfort Unified
| Protective film 7 BAC front, type 5 | 6AV6881-0GJ22-1AA0 | Antibatterica per pannelli Comfort Unified
| Protective film 10 BAC front, type 5 | 6AV6881-0KJ22-1AA0 | Antibatterica per pannelli Comfort Unified
| Protective film 12 BAC front, type 5 | 6AV6881-0MJ22-1AA0 | Antibatterica per pannelli Comfort Unified
| Protective film 15 BAC front, type 5 | 6AV6881-0QJ22-1AA0 | Antibatterica per pannelli Comfort Unified
| Protective film 19 BAC front, type 5 | 6AV6881-0UJ22-1AA0 | Antibatterica per pannelli Comfort Unified
| Protective film 22 BAC front, type 5 | 6AV6881-0VJ22-1AA0 | Antibatterica per pannelli Comfort Unified
Memorie e accessori |  | MLFB | Note
| Memory card lock 4" | 6AV2181-4DM10-0AX0 | Per KxP400 Comfort
| Memory card lock 7 to 22" | 6AV2181-4XM00-0AX0 | Per pannelli Comfort
| SIMATIC SD memory card 2 GB | 6AV2181-8XP00-0AX0 | Per pannelli Comfort e Mobile
| SIMATIC SD outdoor card 2 GB | 6AV6881-0AQ10-0AA0 | Per pannelli Comfort e Mobile
| SIMATIC SD indoor card 32 GB | 6AV6881-0AP40-0AA0 | Per pannelli Comfort Unified
| SIMATIC SD outdoor card 32 GB | 6AV6881-0AQ40-0AA0 | Per pannelli Comfort Unified
| USB flash drive, 32 GB | 6AV6881-0AS42-0AA1
Cornici e frontali |  | MLFB | Note
| Mounting frame 7" Unified Panels | 6AV6881-0GD33-0DA0 | Cornice per montaggio di pannelli Comfort Unified su lamiere sottili
| Mounting frame 10" Unified Panels | 6AV6881-0KD33-0DA0 | Cornice per montaggio di pannelli Comfort Unified su lamiere sottili
| Mounting frame 12" Unified Panels | 6AV6881-0MD33-0DA0 | Cornice per montaggio di pannelli Comfort Unified su lamiere sottili
| Mounting frame 15" Unified Panels | 6AV6881-0QD33-0DA0 | Cornice per montaggio di pannelli Comfort Unified su lamiere sottili
| Mounting frame 19" Unified Panels | 6AV6881-0UD33-0DA0 | Cornice per montaggio di pannelli Comfort Unified su lamiere sottili
| Mounting frame 22" Unified Panels | 6AV6881-0VD33-0DA0 | Cornice per montaggio di pannelli Comfort Unified su lamiere sottili
| INOX frame 7", type 1, Unified | 6AV6881-0GH21-2AA0 | Cornice INOX per pannelli Comfort Unified
| INOX frame 10", type 1, Unified | 6AV6881-0KH21-2AA0 | Cornice INOX per pannelli Comfort Unified
| INOX frame 12", type 1, Unified | 6AV6881-0MH21-2AA0 | Cornice INOX per pannelli Comfort Unified
| INOX frame 15", type 1, Unified | 6AV6881-0QH21-2AA0 | Cornice INOX per pannelli Comfort Unified
| INOX frame 19", type 1, Unified | 6AV6881-0UH21-2AA0 | Cornice INOX per pannelli Comfort Unified
| INOX frame 22", type 1, Unified | 6AV6881-0VH21-2AA0 | Cornice INOX per pannelli Comfort Unified
| INOX frame 7", type 1, SET | 6AV6881-0GH21-2BA0 | Frontale e cornice INOX IP69 per pannelli Comfort Unified. Pellicola non inclusa
| INOX frame 10", type 1, SET | 6AV6881-0KH21-2BA0 | Frontale e cornice INOX IP69 per pannelli Comfort Unified. Pellicola non inclusa
| INOX frame 12", type 1, SET | 6AV6881-0MH21-2BA0 | Frontale e cornice INOX IP69 per pannelli Comfort Unified. Pellicola non inclusa
| INOX frame 15", type 1, SET | 6AV6881-0QH21-2BA0 | Frontale e cornice INOX IP69 per pannelli Comfort Unified. Pellicola non inclusa
| INOX frame 19", type 1, SET | 6AV6881-0UH21-2BA0 | Frontale e cornice INOX IP69 per pannelli Comfort Unified. Pellicola non inclusa
| INOX frame 22", type 1, SET | 6AV6881-0VH21-2BA0 | Frontale e cornice INOX IP69 per pannelli Comfort Unified. Pellicola non inclusa
| Adapter Frame Widescreen 15" Touch | 6AV6881-6QD41-0AA0 | Cornice di adattamento per montare un Comfort Unified nel cut-out di un Comfort
| Adapter Frame Widescreen 19" Touch | 6AV6881-6UD41-0AA0 | Cornice di adattamento per montare un Comfort Unified nel cut-out di un Comfort
| Adapter Frame Widescreen 22" Touch | 6AV6881-6VD41-0AA0 | Cornice di adattamento per montare un Comfort Unified nel cut-out di un Comfort
| Adapter Frame widescreen 19" Rack | 6AV6881-6UD42-0AA0 | Cornice di montaggio per MTP1900 Comfort Unified su un rack 19" standard
Accessori di input |  | MLFB | Note
| Touch pen system ELO | 6AV6881-0AV21-0AA0
| Touch pen caps ELO | 6AV6881-0AV61-0AA0
| Touch pen system V2A | 6AV6881-0AV22-0AA0
| Touch pen caps V2A | 6AV6881-0AV62-1AA0
| Touch pen caps RES | 6AV6881-0AV63-0BA0
| Touch pen caps | 6AV2181-8AV60-0AX0
| USB keyboard GER, TKL-105 | 6AV6881-0AU14-0AA0
| USB keyboard INT, TKL-105 | 6AV6881-0AU14-1AA0
| USB keyboard GER, KV25605, INOX | 6AV6881-0AU14-0DB0
| USB keyboard INT, KV27610, INOX | 6AV6881-0AU14-1DB0
Accessori di montaggio |  | MLFB | Note
| Aluminum diecast mounting clip | 6AV2185-8MA00-0AA0 | Per pannelli INOX
| Steel mounting clip, type 2 | 6AV6881-6AD10-0AA0 | Per pannelli Comfort Unified
Accessori Key Panels |  | MLFB | Note
| Switch housing KP8F | 6AV6881-2AM12-1AA0
| Switch housing KP8 | 6AV6881-2AM12-2AA0
| Connector, female, 3-pin, type 4 | 6AV6881-0AE10-0CB0
| Connector, female, 8-pin | 6AV6881-0HE20-0AA0

## Pannelli PRO
SIMATIC PRO Panels
Comfort PRO |  | MLFB | Note
| TP1200 Comfort PRO, support arm, non espandibile | 6AV2124-0MC24-0AX0 | Attacco dall'alto, non compatibile con le extension unit PRO
| TP1200 Comfort PRO, round pipe, espandibile | 6AV2124-0MC24-0BX0 | Attacco tubolare
| TP1200 Comfort PRO, supporting foot, espandibile | 6AV2124-0MC24-1AX0 | Attacco dal basso
| TP1500 Comfort PRO, support arm, non espandibile | 6AV2124-0QC24-0AX0 | Attacco dall'alto, non compatibile con le extension unit PRO
| TP1500 Comfort PRO, round pipe, espandibile | 6AV2124-0QC24-0BX0 | Attacco tubolare
| TP1500 Comfort PRO, supporting foot, espandibile | 6AV2124-0QC24-1AX0 | Attacco dal basso
| TP1900 Comfort PRO, support arm, non espandibile | 6AV2124-0UC24-0AX0 | Attacco dall'alto, non compatibile con le extension unit PRO
| TP1900 Comfort PRO, round pipe, espandibile | 6AV2124-0UC24-0BX0 | Attacco tubolare
| TP1900 Comfort PRO, supporting foot, espandibile | 6AV2124-0UC24-1AX0 | Attacco dal basso
| TP2200 Comfort PRO, support arm, non espandibile | 6AV2124-0XC24-0AX0 | Attacco dall'alto, non compatibile con le extension unit PRO
| TP2200 Comfort PRO, round pipe, espandibile | 6AV2124-0XC24-0BX0 | Attacco tubolare
| TP2200 Comfort PRO, supporting foot, espandibile | 6AV2124-0XC24-1AX0 | Attacco dal basso
| TP1200 Comfort PRO Neutral, support arm, non espandibile | 6AV2124-0MC24-0AB0 | Attacco dall'alto, non compatibile con le extension unit PRO
| TP1200 Comfort PRO Neutral, round pipe, espandibile | 6AV2124-0MC24-0BB0 | Attacco tubolare
| TP1200 Comfort PRO Neutral, supporting foot, espandibile | 6AV2124-0MC24-1AB0 | Attacco dal basso
| TP1500 Comfort PRO Neutral, support arm, non espandibile | 6AV2124-0QC24-0AB0 | Attacco dall'alto, non compatibile con le extension unit PRO
| TP1500 Comfort PRO Neutral, round pipe, espandibile | 6AV2124-0QC24-0BB0 | Attacco tubolare
| TP1500 Comfort PRO Neutral, supporting foot, espandibile | 6AV2124-0QC24-1AB0 | Attacco dal basso
| TP1900 Comfort PRO Neutral, support arm, non espandibile | 6AV2124-0UC24-0AB0 | Attacco dall'alto, non compatibile con le extension unit PRO
| TP1900 Comfort PRO Neutral, round pipe, espandibile | 6AV2124-0UC24-0BB0 | Attacco tubolare
| TP1900 Comfort PRO Neutral, supporting foot, espandibile | 6AV2124-0UC24-1AB0 | Attacco dal basso
| TP2200 Comfort PRO Neutral, support arm, non espandibile | 6AV2124-0XC24-0AB0 | Attacco dall'alto, non compatibile con le extension unit PRO
| TP2200 Comfort PRO Neutral, round pipe, espandibile | 6AV2124-0XC24-0BB0 | Attacco tubolare
| TP2200 Comfort PRO Neutral, supporting foot, espandibile | 6AV2124-0XC24-1AB0 | Attacco dal basso
Unified Comfort PRO |  | MLFB | Note
| MTP1200 Unified Comfort PRO, support arm, non espandibile | 6AV2128-3MB27-0AX0 | Attacco dall'alto, non compatibile con le extension unit PRO
| MTP1200 Unified Comfort PRO, round pipe, espandibile | 6AV2128-3MB27-0BX0 | Attacco tubolare
| MTP1200 Unified Comfort PRO, supporting foot, espandibile | 6AV2128-3MB27-1BX0 | Attacco dal basso
| MTP1500 Unified Comfort PRO, support arm, non espandibile | 6AV2128-3QB27-0AX0 | Attacco dall'alto, non compatibile con le extension unit PRO
| MTP1500 Unified Comfort PRO, round pipe, espandibile | 6AV2128-3QB27-0BX0 | Attacco tubolare
| MTP1500 Unified Comfort PRO, supporting foot, espandibile | 6AV2128-3QB27-1BX0 | Attacco dal basso
| MTP1900 Unified Comfort PRO, support arm, non espandibile | 6AV2128-3UB27-0AX0 | Attacco dall'alto, non compatibile con le extension unit PRO
| MTP1900 Unified Comfort PRO, round pipe, espandibile | 6AV2128-3UB27-0BX0 | Attacco tubolare
| MTP1900 Unified Comfort PRO, supporting foot, espandibile | 6AV2128-3UB27-1BX0 | Attacco dal basso
| MTP2200 Unified Comfort PRO, support arm, non espandibile | 6AV2128-3XB27-0AX0 | Attacco dall'alto, non compatibile con le extension unit PRO
| MTP2200 Unified Comfort PRO, round pipe, espandibile | 6AV2128-3XB27-0BX0 | Attacco tubolare
| MTP2200 Unified Comfort PRO, supporting foot, espandibile | 6AV2128-3XB27-1BX0 | Attacco dal basso
| MTP1200 Unified Comfort PRO Neutral, support arm, non espandibile | 6AV2128-3MB57-0AX0 | Attacco dall'alto, non compatibile con le extension unit PRO
| MTP1200 Unified Comfort PRO Neutral, round pipe, espandibile | 6AV2128-3MB57-0BX0 | Attacco tubolare
| MTP1200 Unified Comfort PRO Neutral, supporting foot, espandibile | 6AV2128-3MB57-1BX0 | Attacco dal basso
| MTP1500 Unified Comfort PRO Neutral, support arm, non espandibile | 6AV2128-3QB57-0AX0 | Attacco dall'alto, non compatibile con le extension unit PRO
| MTP1500 Unified Comfort PRO Neutral, round pipe, espandibile | 6AV2128-3QB57-0BX0 | Attacco tubolare
| MTP1500 Unified Comfort PRO Neutral, supporting foot, espandibile | 6AV2128-3QB57-1BX0 | Attacco dal basso
| MTP1900 Unified Comfort PRO Neutral, support arm, non espandibile | 6AV2128-3UB57-0AX0 | Attacco dall'alto, non compatibile con le extension unit PRO
| MTP1900 Unified Comfort PRO Neutral, round pipe, espandibile | 6AV2128-3UB57-0BX0 | Attacco tubolare
| MTP1900 Unified Comfort PRO Neutral, supporting foot, espandibile | 6AV2128-3UB57-1BX0 | Attacco dal basso
| MTP2200 Unified Comfort PRO Neutral, support arm, non espandibile | 6AV2128-3XB57-0AX0 | Attacco dall'alto, non compatibile con le extension unit PRO
| MTP2200 Unified Comfort PRO Neutral, round pipe, espandibile | 6AV2128-3XB57-0BX0 | Attacco tubolare
| MTP2200 Unified Comfort PRO Neutral, supporting foot, espandibile | 6AV2128-3XB57-1BX0 | Attacco dal basso

## Accessori PRO
Accessori SIMATIC PRO Panels
Extension Units |  | MLFB | Note
| Extension Unit 12" hardwired | 6AV7674-1LA31-0AA0
| Extension Unit 15" hardwired | 6AV7674-1LA41-0AA0
| Extension Unit 19" hardwired | 6AV7674-1LA51-0AA0
| Extension Unit 22" hardwired | 6AV7674-1LA61-0AA0
| Extension Unit 12" PROFINET | 6AV7674-1LA32-0AA0
| Extension Unit 15" PROFINET | 6AV7674-1LA42-0AA0
| Extension Unit 19" PROFINET | 6AV7674-1LA52-0AA0
| Extension Unit 22" PROFINET | 6AV7674-1LA62-0AA0
| Extension Unit 12" PROFISAFE | 6AV7674-1LA33-0AA0
| Extension Unit 15" PROFISAFE | 6AV7674-1LA43-0AA0
| Extension Unit 19" PROFISAFE | 6AV7674-1LA53-0AA0
| Extension Unit 22" PROFISAFE | 6AV7674-1LA63-0AA0
| Extension Unit 12" KP12 PN | 6AV2185-8CE01-0AA0
| Extension Unit 15" KP12 PN | 6AV2185-8DE01-0AA0
| Extension Unit 19" KP12 PN | 6AV2185-8EE01-0AA0
| Extension Unit 22" KP12 PN | 6AV2185-8FE01-0AA0
| Extension Unit 12" KP12F PN | 6AV2185-8CF01-0AA0
| Extension Unit 15" KP12F PN | 6AV2185-8DF01-0AA0
| Extension Unit 19" KP12F PN | 6AV2185-8EF01-0AA0
| Extension Unit 22" KP12F PN | 6AV2185-8FF01-0AA0
| Extension Unit 12" KP24 PN | 6AV2185-8CE08-0AA0
| Extension Unit 15" KP36 PN | 6AV2185-8DE08-0AA0
| Extension Unit 19" KP36 PN | 6AV2185-8EE08-0AA0
| Extension Unit 22" KP48 PN | 6AV2185-8FE08-0AA0
| Extension Unit box 12" | 6AV7674-1LA30-0AA0 | Vuota, per alloggiamento elementi SIRIUS ACT
| Extension Unit box 15" | 6AV7674-1LA40-0AA0 | Vuota, per alloggiamento elementi SIRIUS ACT
| Extension Unit box 19" | 6AV7674-1LA50-0AA0 | Vuota, per alloggiamento elementi SIRIUS ACT
| Extension Unit box 22" | 6AV7674-1LA60-0AA0 | Vuota, per alloggiamento elementi SIRIUS ACT
Elementi di comando e visualizzazione |  | MLFB | Note
| Emergency Stop Pushbutton for Extension Unit | 6AV7674-1MA00-0AA0
| Illuminated Pushbutton for Extension Unit | 6AV7674-1MB00-0AA0 | 1NO
| Indicator Light for Extension Unit | 6AV7674-1MC00-0AA0
| Selector Switch for Extension Unit | 6AV7674-1MD00-0AA0
| Key-operated Switch for Extension Unit | 6AV7674-1ME00-0AA0
| Key-operated Switch Safety for Extension Unit | 6AV7674-1ME50-0AA0
| Illuminated Pushbutton for Extension Unit | 6AV7674-1MG00-0AA0 | 1NO + 1NC
| Spare key PRO, type 14 | 6AV6881-4AR23-0AA0
| Spare key PRO, Safety, type 14 | 6AV6881-4AR23-1AA0
| Pushbutton Safety for Extension Unit | 6AV7674-1MG50-0AA0 | 2NO
| USB interface for extension unit | 6AV7674-1MF00-0AA0
| RGB-Button (without connection cable) | 6AV2185-8AB01-2AA0
| 12 Label Holder for Self Inscription | 6AV7674-1LB20-0AA0
| Label Inserts for Self Inscription | 6AV7674-1LB30-0AA0
| Labeling stripes for KPxx | 6AV2185-8BL00-0AA0 | Per Extension Units Advanced
Elementi di cablaggio |  | MLFB | Note
| Connection cable for advanced elements | 6AV2185-8AW05-0AA0 | Per Extension Units Advanced
| Connection cable for advanced elements | 6AV2185-8AW10-0AA0 | Per Extension Units Advanced
| Connection cable for advanced elements | 6AV2185-8AW30-0AA0 | Per Extension Units Advanced
| Connection cable for advanced elements | 6AV2185-8AW50-0AA0 | Per Extension Units Advanced
Accessori di montaggio |  | MLFB | Note
| Flange Mount for Pro Devices | 6AV7674-1KF00-0AA0
| Basic Adapter for HMI/IPC Pro (16:9) | 6AV7674-1KA00-0AA0
| Flange mount adapter VESA 100/75 | 6AV6881-0AD56-0AA0
| Flange mount adapter VESA 100/75 INOX | 6AV6881-0AD56-2CA0
| Flange mount adapter VESA 100/75, IP65 | 6AV6881-0AD56-3CA0
| Adapter Set VESA75 for Fully Enclosed HMI | 6AV7674-0KE00-0AA0
| Adapter Set VESA100 for Fully Enclosed HMI | 6AV7674-0KD00-0AA0
| 1 port USB interface set RAL9023 | 6AV7674-0LX00-0AA0
| 2 port USB interface set RAL9023 | 6AV7674-0LX01-0AA0
| USB Interface for Pro Devices | 6AV7674-1LX00-0AA0
| Handles for HMI PRO devices | 6AV7674-1LB10-0AA0
| Keyboard tray for PRO devices | 6AV7674-1NF01-0AA0
| Keyboard tray plate for HMI PRO devices | 6AV7674-1NG00-0AA0
| Round tube plug for PRO devices | 6AV7674-1LB40-0AA0
| Exchange adapter for PRO devices | 6AV7674-1LB50-0AA0

## Mobile
SIMATIC Mobile Panels
Mobile Panels |  | MLFB | Note
| KTP400F Mobile | 6AV2125-2DB23-0AX0
| KTP700 Mobile | 6AV2125-2GB03-0AX0
| KTP700F Mobile | 6AV2125-2GB23-0AX0
| KTP900 Mobile | 6AV2125-2JB03-0AX0
| KTP900F Mobile | 6AV2125-2JB23-0AX0
| KTP700F Mobile Arctic | 6AV2145-6GB06-0AA0
| KTP700F Mobile HW | 6AV2145-8GB00-0AA0
| KTP700F Mobile HW/OR | 6AV2145-8GB01-0AA0
| TP1000F Mobile RO | 6AV2145-6KB10-0AS0
| TP1000F Mobile | 6AV2145-6KB20-0AS0
| IWP10F Mobile WebClient | 6AV2145-6KM00-0AA0
| IWP10 Mobile WebClient WP | 6AV2145-6KM00-0WP0
Connection Boxes |  | MLFB | Note
| Connection Box Compact | 6AV2125-2AE03-0AX0 | Adatta anche per KTP700F Mobile Arctic
| Connection Box Standard | 6AV2125-2AE13-0AX0
| Connection Box Advanced | 6AV2125-2AE23-0AX0 | Adatta anche per KTP700F Mobile Arctic
Cavi |  | MLFB | Note
| Connecting Cable 2m KTP Mobile | 6AV2181-5AF02-0AX0
| Connecting Cable 5m KTP Mobile | 6AV2181-5AF05-0AX0
| Connecting Cable 8m KTP Mobile | 6AV2181-5AF08-0AX0
| Connecting Cable 10m KTP Mobile | 6AV2181-5AF10-0AX0
| Connecting Cable 15m KTP Mobile | 6AV2181-5AF15-0AX0
| Connecting Cable 20m KTP Mobile | 6AV2181-5AF20-0AX0
| Connecting Cable 25m KTP Mobile | 6AV2181-5AF25-0AX0
Altri accessori |  | MLFB | Note
| Mobile Panels wall bracket, type 13 | 6AV2181-5AG80-0AX0
| Spare key Mobile Panel, type 13 | 6AV2181-5AR80-0AX0
| Protective film 4" widescreen, type 13 | 6AV2181-5DJ00-0AX0
| Protective film 7" widescreen, type 13 | 6AV2181-5GJ00-0AX0
| Protective film 9" widescreen, type 13 | 6AV2181-5JJ00-0AX0
| Protective film 10" touch devices | 6AV2185-5KJ00-0AS0
| Labeling set 4" wide, type 13 | 6AV2181-5DJ10-0AX0
| Labeling set 7" wide, type 13 | 6AV2181-5GJ10-0AX0
| Labeling set 9" wide, type 13 | 6AV2181-5JJ10-0AX0
| Power Supply External Mobile Panel IWLAN DE | 6AV2181-5AL10-0AX0
| Power Supply External Mobile Panel IWLAN UK | 6AV2181-5AL20-0AX0
| Power Supply External Mobile Panel IWLAN SW | 6AV2181-5AL30-0AX0
| Power Supply External Mobile Panel IWLAN US | 6AV2181-5AL40-0AX0
| Power Supply External Mobile Panel IWLAN IT | 6AV2181-5AL50-0AX0
| Power Supply External Mobile Panel IWLAN CN | 6AV2181-5AL60-0AX0
| Service set KTP Mobile screws M3 | 6AV6881-0AG11-0AA0
| Service set KTP Mobile covers | 6AV6881-5AA00-0AA1
| Service set KTP Mobile protective cap | 6AV6881-5AD18-2AA0
| Battery cover IWLAN Mobile Panel | 6AV6881-5AM52-0AA0