## Licenze di sviluppo interne
MLFB | Prodotto
6AV6355-1EA00-0GA0 | WinCC OA - Inhouse DEV Package (incl 10h Hotline)
6AV6355-1EA00-0GA1 | WinCC OA - 2 Inhouse DEV Packages (incl 10h Hotline)
6AV6355-1EA00-0GA2 | WinCC OA - 5 Inhouse DEV Packages (incl 10h Hotline)
6AV6355-1EA00-0GA3 | WinCC OA - 10 Inhouse DEV Packages (incl 10h Hotline)
6AV6355-1EA00-0GB0 | WinCC OA - Inhouse DEV PARA (opzione per la IDL)
6AV6355-1EA00-0GB1 | WinCC OA - 2 Inhouse DEV PARA (opzione per la IDL)
6AV6355-1EA00-0GB2 | WinCC OA - 5 Inhouse DEV PARA (opzione per la IDL)
6AV6355-1EA00-0GB3 | WinCC OA - 10 Inhouse DEV PARA (opzione per la IDL)
6AV6355-1EA00-0GC0 | WinCC OA - Inhouse DEV BACnet
6AV6355-1EA00-0GC1 | WinCC OA - Inhouse DEV Video
6AV6355-1EA00-0GC2 | WinCC OA - Inhouse DEV SmartSCADA
6AV6355-1EA00-0GE1 | WinCC OA - Partner Value Pack (incl 10h Hotline)
6AV6355-1EA00-0GD0 | WinCC OA - API Interface

## Licenze in impianto
MLFB | Prodotto
6AV6355-1AA47-7AA0 | WinCC OA V3.19 - Single Station
6AV6355-1AA47-7AA1 | WinCC OA V3.19 - Para Single Station
6AV6355-1AA47-7BA0 | WinCC OA V3.19 - Server Basic
6AV6355-1AA47-7BB0 | WinCC OA V3.19 - 1k PowerTags
6AV6355-1AA47-7BB1 | WinCC OA V3.19 - 3k PowerTags
6AV6355-1AA47-7BB2 | WinCC OA V3.19 - 5k PowerTags
6AV6355-1AA47-7BB3 | WinCC OA V3.19 - 10k PowerTags
6AV6355-1AA47-7BB4 | WinCC OA V3.19 - 15k PowerTags
6AV6355-1AA47-7BB5 | WinCC OA V3.19 - 25k PowerTags
6AV6355-1AA47-7BB6 | WinCC OA V3.19 - 50k PowerTags
6AV6355-1AA47-7BB7 | WinCC OA V3.19 - 75k PowerTags
6AV6355-1AA47-7BB8 | WinCC OA V3.19 - 100k PowerTags
6AV6355-1AA47-7BC0 | WinCC OA V3.19 - 150k PowerTags
6AV6355-1AA47-7BC1 | WinCC OA V3.19 - 200k PowerTags
6AV6355-1AA47-7BC2 | WinCC OA V3.19 - 250k PowerTags
6AV6355-1AA47-7BC3 | WinCC OA V3.19 - Unlimited PowerTags
6AV6355-1AA47-7CA0 | WinCC OA V3.19 - 1 Desktop UI
6AV6355-1AA47-7CA1 | WinCC OA V3.19 - 10 Desktop UI
6AV6355-1AA47-7CA2 | WinCC OA V3.19 - 25 Desktop UI
6AV6355-1AA47-7CA3 | WinCC OA V3.19 - 50 Desktop UI
6AV6355-1AA47-7CA4 | WinCC OA V3.19 - 100 Desktop UI
6AV6355-1AA47-7CB0 | WinCC OA V3.19 - 1 Desktop UI REDU
6AV6355-1AA47-7CB1 | WinCC OA V3.19 - 10 Desktop UI REDU
6AV6355-1AA47-7CB2 | WinCC OA V3.19 - 25 Desktop UI REDU
6AV6355-1AA47-7CB3 | WinCC OA V3.19 - 50 Desktop UI REDU
6AV6355-1AA47-7CB4 | WinCC OA V3.19 - 100 Desktop UI REDU
6AV6355-1AA47-7CC0 | WinCC OA V3.19 - 1 ULC UX
6AV6355-1AA47-7CC1 | WinCC OA V3.19 - 10 ULC UX
6AV6355-1AA47-7CC2 | WinCC OA V3.19 - 25 ULC UX
6AV6355-1AA47-7CC3 | WinCC OA V3.19 - 50 ULC UX
6AV6355-1AA47-7CC4 | WinCC OA V3.19 - 100 ULC UX
6AV6355-1AA47-7CD0 | WinCC OA V3.19 - 1 ULC UX REDU
6AV6355-1AA47-7CD1 | WinCC OA V3.19 - 10 ULC UX REDU
6AV6355-1AA47-7CD2 | WinCC OA V3.19 - 25 ULC UX REDU
6AV6355-1AA47-7CD3 | WinCC OA V3.19 - 50 ULC UX REDU
6AV6355-1AA47-7CD4 | WinCC OA V3.19 - 100 ULC UX REDU
6AV6355-1AA47-7ET1 | WinCC OA V3.19 - ULC UX Load Balancing
6AV6355-1AA47-7CE0 | WinCC OA V3.19 - 1 Mobile
6AV6355-1AA47-7CE1 | WinCC OA V3.19 - 10 Mobiles
6AV6355-1AA47-7CE2 | WinCC OA V3.19 - 25 Mobiles
6AV6355-1AA47-7CE3 | WinCC OA V3.19 - 50 Mobiles
6AV6355-1AA47-7CE4 | WinCC OA V3.19 - 100 Mobiles
6AV6355-1AA47-7CF0 | WinCC OA V3.19 - 1 Mobile REDU
6AV6355-1AA47-7CF1 | WinCC OA V3.19 - 10 Mobiles REDU
6AV6355-1AA47-7CF2 | WinCC OA V3.19 - 25 Mobiles REDU
6AV6355-1AA47-7CF3 | WinCC OA V3.19 - 50 Mobiles REDU
6AV6355-1AA47-7CF4 | WinCC OA V3.19 - 100 Mobiles REDU
6AV6355-1AA47-7CH0 | WinCC OA V3.19 - Para Standard
6AV6355-1AA47-7CH1 | WinCC OA V3.19 - Para Standard REDU
6AV6355-1AA47-7CH2 | WinCC OA V3.19 - Para Remote
6AV6355-1AA47-7DA1 | WinCC OA V3.19 - Driver S7 64
6AV6355-1AA47-7DA2 | WinCC OA V3.19 - Driver S7 512
6AV6355-1AA47-7DA4 | WinCC OA V3.19 - Driver PROFINet
6AV6355-1AA47-7DA5 | WinCC OA V3.19 - Driver PROFISafe
6AV6355-1AA47-7DB2 | WinCC OA V3.19 - Driver DNP3
6AV6355-1AA47-7DC0 | WinCC OA V3.19 - Driver IEC 101
6AV6355-1AA47-7DC1 | WinCC OA V3.19 - Driver IEC 104
6AV6355-1AA47-7DC2 | WinCC OA V3.19 - Driver IEC 61850/61400
6AV6355-1AA47-7DC3 | WinCC OA V3.19 - Driver SAIA-S-Bus
6AV6355-1AA47-7DC4 | WinCC OA V3.19 - Driver TLS
6AV6355-1AA47-7DC5 | WinCC OA V3.19 - Driver SSI
6AV6355-1AA47-7DD0 | WinCC OA V3.19 - Driver Modbus
6AV6355-1AA47-7DE0 | WinCC OA V3.19 - Driver RK512
6AV6355-1AA47-7DF2 | WinCC OA V3.19 - Driver SINAUT
6AV6355-1AA47-7DG0 | WinCC OA V3.19 - Driver SNMP
6AV6355-1AA47-7DJ0 | WinCC OA V3.19 - Driver EIP
6AV6355-1AA47-7DK2 | WinCC OA V3.19 - Driver MQTT Client
6AV6355-1AA47-7EA0 | WinCC OA V3.19 - RDB
6AV6355-1AA47-7EA1 | WinCC OA V3.19 - DB Logger
6AV6355-1AA47-7EB0 | WinCC OA V3.19 - BACnet
6AV6355-1AA47-7DL1 | WinCC OA V3.19 - BACnet Objects 200
6AV6355-1AA47-7DL2 | WinCC OA V3.19 - BACnet Objects 500
6AV6355-1AA47-7DL3 | WinCC OA V3.19 - BACnet Objects 1k
6AV6355-1AA47-7DL4 | WinCC OA V3.19 - BACnet Objects 3k
6AV6355-1AA47-7DL5 | WinCC OA V3.19 - BACnet Objects 5k
6AV6355-1AA47-7DL6 | WinCC OA V3.19 - 30k BACnet Objects
6AV6355-1AA47-7DL7 | WinCC OA V3.19 - unlimited BACnet Objects
6AV6355-1AA47-7EC0 | WinCC OA V3.19 - CommCenter 1 (25 Alarms)
6AV6355-1AA47-7EC1 | WinCC OA V3.19 - CommCenter 2 (250 Alarms)
6AV6355-1AA47-7EC2 | WinCC OA V3.19 - CommCenter 3 (2500 Alarms)
6AV6355-1AA47-7EC3 | WinCC OA V3.19 - CommCenter 4 (Unlimited Alarms)
6AV6355-1AA47-7ED2 | WinCC OA V3.19 - Custom Comp
6AV6355-1AA47-7ED3 | WinCC OA V3.19 - Custom Comp REDU
6AV6355-1AA47-7EE0 | WinCC OA V3.19 - Dist System
6AV6355-1AA47-7EF0 | WinCC OA V3.19 - Redundancy
6AV6355-1AA47-7EF1 | WinCC OA V3.19 - DRS
6AV6355-1AA47-7EG0 | WinCC OA V3.19 - Secure
6AV6355-1AA47-7EH5 | WinCC OA V3.19 - Map
6AV6355-1AA47-7EJ0 | WinCC OA V3.19 - Maintenance
6AV6355-1AA47-7EK0 | WinCC OA V3.19 - OPC UA Server
6AV6355-1AA47-7EK1 | WinCC OA V3.19 - MindSphere
6AV6355-1AA47-7EK2 | WinCC OA V3.19 - Modbus Server
6AV6355-1AA47-7EL0 | WinCC OA V3.19 - Recipe
6AV6355-1AA47-7EM0 | WinCC OA V3.19 - Report 1 (1 Client)
6AV6355-1AA47-7EM1 | WinCC OA V3.19 - Report 2 (2 Clients)
6AV6355-1AA47-7EM2 | WinCC OA V3.19 - Report 5 (5 Clients)
6AV6355-1AA47-7EM3 | WinCC OA V3.19 - Report 10 (10 Clients)
6AV6355-1AA47-7EM5 | WinCC OA V3.19 - Report 1 REDU
6AV6355-1AA47-7EM6 | WinCC OA V3.19 - Report 2 REDU
6AV6355-1AA47-7EM7 | WinCC OA V3.19 - Report 5 REDU
6AV6355-1AA47-7EM8 | WinCC OA V3.19 - Report 10 REDU
6AV6355-1AA47-7EN0 | WinCC OA V3.19 - Scheduler
6AV6355-1AA47-7EP0 | WinCC OA V3.19 - SmartSCADA Toolbox
6AV6355-1AA47-7EP1 | WinCC OA V3.19 - SmartSCADA KPI Ext.
6AV6355-1AA47-7EP2 | WinCC OA V3.19 - SmartSCADA Analytics
6AV6355-1AA47-7EQ0 | WinCC OA V3.19 - Video Light
6AV6355-1AA47-7EQ1 | WinCC OA V3.19 - Video Basic
6AV6355-1AA47-7EQ2 | WinCC OA V3.19 - Video Display
6AV6355-1AA47-7ER0 | WinCC OA V3.19 - Video 1 (1 camera)
6AV6355-1AA47-7ER1 | WinCC OA V3.19 - Video 10 (10 cameras)
6AV6355-1AA47-7ER2 | WinCC OA V3.19 - Video 25 (25 cameras)
6AV6355-1AA47-7ER3 | WinCC OA V3.19 - Video 50 (50 cameras)
6AV6355-1AA47-7ER4 | WinCC OA V3.19 - Video 100 (100 cameras)
6AV6355-1AA47-7ER5 | WinCC OA V3.19 - Video 250 (250 cameras)
6AV6355-1AA47-7ER6 | WinCC OA V3.19 - Video 500 (500 cameras)
6AV6355-1AA47-7ES0 | WinCC OA V3.19 - Video 1 REDU
6AV6355-1AA47-7ES1 | WinCC OA V3.19 - Video 10 REDU
6AV6355-1AA47-7ES2 | WinCC OA V3.19 - Video 25 REDU
6AV6355-1AA47-7ES3 | WinCC OA V3.19 - Video 50 REDU
6AV6355-1AA47-7ES4 | WinCC OA V3.19 - Video 100 REDU
6AV6355-1AA47-7ES5 | WinCC OA V3.19 - Video 250 REDU
6AV6355-1AA47-7ES6 | WinCC OA V3.19 - Video 500 REDU
6AV6355-1AA47-7ET2 | WinCC OA V3.19 - 1 Websocket Connection
6AV6355-1AA47-7HA0 | WinCC OA V3.19 - Topology Package
6AV6355-1AA47-7HB0 | WinCC OA V3.19 - APM Package
6AV6355-1AA47-7HC0 | WinCC OA V3.19 - AMS Package Starter
6AV6355-1AA47-7HC1 | WinCC OA V3.19 - AMS Package Entry
6AV6355-1AA47-7HC2 | WinCC OA V3.19 - AMS Package Small
6AV6355-1AA47-7HC3 | WinCC OA V3.19 - AMS Package Medium
6AV6355-1AA47-7HC4 | WinCC OA V3.19 - AMS Package Large
6AV6355-1AA47-7HC5 | WinCC OA V3.19 - AMS Package Unlimited
6AV6355-1AA47-7HC6 | WinCC OA V3.19 - AMS Package Extension
6AV6355-1AA47-7CL0 | WinCC OA V3.19 - 1 DashbOA V3.19rd
6AV6355-1AA47-7CL1 | WinCC OA V3.19 - 10 DashbOA V3.19rds
6AV6355-1AA47-7CL2 | WinCC OA V3.19 - 25 DashbOA V3.19rds
6AV6355-1AA47-7CL3 | WinCC OA V3.19 - 50 DashbOA V3.19rds
6AV6355-1AA47-7CL4 | WinCC OA V3.19 - 100 DashbOA V3.19rds
6AV6355-1AA47-7CM0 | WinCC OA V3.19 - 1 DashbOA V3.19rd REDU
6AV6355-1AA47-7CM1 | WinCC OA V3.19 - 10 DashbOA V3.19rds REDU
6AV6355-1AA47-7CM2 | WinCC OA V3.19 - 25 DashbOA V3.19rds REDU
6AV6355-1AA47-7CM3 | WinCC OA V3.19 - 50 DashbOA V3.19rds REDU
6AV6355-1AA47-7CM4 | WinCC OA V3.19 - 100 DashbOA V3.19rds REDU
6AV6355-1AA47-7CJ0 | WinCC OA V3.19 - 1 Mobile DashbOA V3.19rd
6AV6355-1AA47-7CJ1 | WinCC OA V3.19 - 10 Mobile DashbOA V3.19rds
6AV6355-1AA47-7CJ2 | WinCC OA V3.19 - 25 Mobile DashbOA V3.19rds
6AV6355-1AA47-7CJ3 | WinCC OA V3.19 - 50 Mobile DashbOA V3.19rds
6AV6355-1AA47-7CJ4 | WinCC OA V3.19 - 100 Mobile DashbOA V3.19rds
6AV6355-1AA47-7CK0 | WinCC OA V3.19 - 1 Mobile DashbOA V3.19rd REDU
6AV6355-1AA47-7CK1 | WinCC OA V3.19 - 10 Mobile DashbOA V3.19rds REDU
6AV6355-1AA47-7CK2 | WinCC OA V3.19 - 25 Mobile DashbOA V3.19rds REDU
6AV6355-1AA47-7CK3 | WinCC OA V3.19 - 50 Mobile DashbOA V3.19rds REDU
6AV6355-1AA47-7CK4 | WinCC OA V3.19 - 100 Mobile DashbOA V3.19rds REDU
6AV6355-1AA47-7EA2 | WinCC OA V3.19 - NGA Standard
6AV6355-1AA47-7EA3 | WinCC OA V3.19 - NGA Premium
6AV6355-1AA47-7EA4 | WinCC OA V3.19 - NGA Backend Connection
6AV6355-4AA00-0AA0 | WinCC OA - ORACLE SE2 ASFU
6AV6355-4AA00-0AA1 | WinCC OA - ORACLE SE2 ASFU SUS
6AV6355-4AA00-0AA2 | WinCC OA - ORACLE SE2 FU
6AV6355-4AA00-0AA3 | WinCC OA - ORACLE SE2 FU SUS

## Powerpacks Tags
MLFB | Prodotto
6AV6355-1AA47-7BD0 | WinCC OA V3.19 – da 1k a 3k Powerpack
6AV6355-1AA47-7BD1 | WinCC OA V3.19 – da 3k a 5k Powerpack
6AV6355-1AA47-7BD2 | WinCC OA V3.19 – da 5k a 10k Powerpack
6AV6355-1AA47-7BD3 | WinCC OA V3.19 – da 10k a 15k Powerpack
6AV6355-1AA47-7BD4 | WinCC OA V3.19 – da 15k a 25k Powerpack
6AV6355-1AA47-7BD5 | WinCC OA V3.19 – da 25k a 50k Powerpack
6AV6355-1AA47-7BD6 | WinCC OA V3.19 – da 50k a 75k Powerpack
6AV6355-1AA47-7BD7 | WinCC OA V3.19 – da 75k a 100k Powerpack
6AV6355-1AA47-7BE0 | WinCC OA V3.19 – da 100k a 150k Powerpack
6AV6355-1AA47-7BE1 | WinCC OA V3.19 – da 150k a 200k Powerpack
6AV6355-1AA47-7BE2 | WinCC OA V3.19 – da 200k a 250k Powerpack
6AV6355-1AA47-7BE3 | WinCC OA V3.19 – da 250k a Unlimited Powerpack
6AV6355-1AA47-7DM0 | WinCC OA V3.19 – BACnetpack 200/500
6AV6355-1AA47-7DM1 | WinCC OA V3.19 – BACnetpack 500/1k
6AV6355-1AA47-7DM2 | WinCC OA V3.19 – BACnetpack 1k/3k
6AV6355-1AA47-7DM3 | WinCC OA V3.19 – BACnetpack 3k/5k
6AV6355-1AA47-7DM4 | WinCC OA V3.19 – 5k-30k BACnetpack
6AV6355-1AA47-7DM5 | WinCC OA V3.19 – 30k-unlimited BACnetpack

## IPC Package
MLFB | Prodotto
6AV6355-1AA47-7FA4 | WinCC OA V3.19 - IPC Package 128
6AV6355-1AA47-7FA0 | WinCC OA V3.19 - IPC Package 256
6AV6355-1AA47-7FA1 | WinCC OA V3.19 - IPC Package 512
6AV6355-1AA47-7FA2 | WinCC OA V3.19 - IPC Package 2048
6AV6355-1AA47-7FA3 | WinCC OA V3.19 - IPC Package 4096
SUS
6AV6355-1DA00-0FA4 | WinCC OA - IPC Package 128 SUS
6AV6355-1DA00-0FA0 | WinCC OA - IPC Package 256 SUS
6AV6355-1DA00-0FA1 | WinCC OA - IPC Package 512 SUS
6AV6355-1DA00-0FA2 | WinCC OA - IPC Package 2048 SUS
6AV6355-1DA00-0FA3 | WinCC OA - IPC Package 4096 SUS
N.B. Per ulteriori info aggiornate consultare https://support.industry.siemens.com/cs/us/en/view/99860269 Una licenza IPC Package include: - licenza WinCC OA Server per SIMATIC IPCs (sono supportate le serie 1xx, 2xx e IoT 2050) - licenza WinCC OA RT xxxx tag - licenza Desktop UI per il client locale - licenza Dist - 3 Driver a scelta - altre licenze: OPC Client/Server, OPC UA Client/Server, opzione RDB e NGA Standard. Questi pacchetti non sono ampliabili con ulteriori opzioni WinCC OA (per le limitazioni vedi la documentazione WinCC) ad eccezione del IPC Package 4096. SMS e POS non applicabili.

## Upgrades
MLFB | Prodotto
6AV6355-1CA47-7AA0 | WinCC OA V3.19 - Single Station UPG
6AV6355-1CA47-7AA1 | WinCC OA V3.19 - Para Single Station UPG
6AV6355-1CA47-7BA0 | WinCC OA V3.19 - Server Basic UPG
6AV6355-1CA47-7BB0 | WinCC OA V3.19 - 1k PowerTags UPG
6AV6355-1CA47-7BB1 | WinCC OA V3.19 - 3k PowerTags UPG
6AV6355-1CA47-7BB2 | WinCC OA V3.19 - 5k PowerTags UPG
6AV6355-1CA47-7BB3 | WinCC OA V3.19 - 10k PowerTags UPG
6AV6355-1CA47-7BB4 | WinCC OA V3.19 - 15k PowerTags UPG
6AV6355-1CA47-7BB5 | WinCC OA V3.19 - 25k PowerTags UPG
6AV6355-1CA47-7BB6 | WinCC OA V3.19 - 50k PowerTags UPG
6AV6355-1CA47-7BB7 | WinCC OA V3.19 - 75k PowerTags UPG
6AV6355-1CA47-7BB8 | WinCC OA V3.19 - 100k PowerTags UPG
6AV6355-1CA47-7BC0 | WinCC OA V3.19 - 150k PowerTags UPG
6AV6355-1CA47-7BC1 | WinCC OA V3.19 - 200k PowerTags UPG
6AV6355-1CA47-7BC2 | WinCC OA V3.19 - 250k PowerTags UPG
6AV6355-1CA47-7BC3 | WinCC OA V3.19 - Unlimited PowerTags UPG
6AV6355-1CA47-7CA0 | WinCC OA V3.19 - 1 Desktop UI UPG
6AV6355-1CA47-7CA1 | WinCC OA V3.19 - 10 Desktop UI UPG
6AV6355-1CA47-7CA2 | WinCC OA V3.19 - 25 Desktop UI UPG
6AV6355-1CA47-7CA3 | WinCC OA V3.19 - 50 Desktop UI UPG
6AV6355-1CA47-7CA4 | WinCC OA V3.19 - 100 Desktop UI UPG
6AV6355-1CA47-7CB0 | WinCC OA V3.19 - 1 Desktop UI REDU UPG
6AV6355-1CA47-7CB1 | WinCC OA V3.19 - 10 Desktop UI REDU UPG
6AV6355-1CA47-7CB2 | WinCC OA V3.19 - 25 Desktop UI REDU UPG
6AV6355-1CA47-7CB3 | WinCC OA V3.19 - 50 Desktop UI REDU UPG
6AV6355-1CA47-7CB4 | WinCC OA V3.19 - 100 Desktop UI REDU UPG
6AV6355-1CA47-7CC0 | WinCC OA V3.19 - 1 ULC UX UPG
6AV6355-1CA47-7CC1 | WinCC OA V3.19 - 10 ULC UX UPG
6AV6355-1CA47-7CC2 | WinCC OA V3.19 - 25 ULC UX UPG
6AV6355-1CA47-7CC3 | WinCC OA V3.19 - 50 ULC UX UPG
6AV6355-1CA47-7CC4 | WinCC OA V3.19 - 100 ULC UX UPG
6AV6355-1CA47-7CD0 | WinCC OA V3.19 - 1 ULC UX REDU UPG
6AV6355-1CA47-7CD1 | WinCC OA V3.19 - 10 ULC UX REDU UPG
6AV6355-1CA47-7CD2 | WinCC OA V3.19 - 25 ULC UX REDU UPG
6AV6355-1CA47-7CD3 | WinCC OA V3.19 - 50 ULC UX REDU UPG
6AV6355-1CA47-7CD4 | WinCC OA V3.19 - 100 ULC UX REDU UPG
6AV6355-1CA47-7ET1 | WinCC OA V3.19 - ULC UX LOA V3.19d Balancing UPG
6AV6355-1CA47-7CE0 | WinCC OA V3.19 - 1 Mobile UPG
6AV6355-1CA47-7CE1 | WinCC OA V3.19 - 10 Mobiles UPG
6AV6355-1CA47-7CE2 | WinCC OA V3.19 - 25 Mobiles UPG
6AV6355-1CA47-7CE3 | WinCC OA V3.19 - 50 Mobiles UPG
6AV6355-1CA47-7CE4 | WinCC OA V3.19 - 100 Mobiles UPG
6AV6355-1CA47-7CF0 | WinCC OA V3.19 - 1 Mobile REDU UPG
6AV6355-1CA47-7CF1 | WinCC OA V3.19 - 10 Mobiles REDU UPG
6AV6355-1CA47-7CF2 | WinCC OA V3.19 - 25 Mobiles REDU UPG
6AV6355-1CA47-7CF3 | WinCC OA V3.19 - 50 Mobiles REDU UPG
6AV6355-1CA47-7CF4 | WinCC OA V3.19 - 100 Mobiles REDU UPG
6AV6355-1CA47-7CH0 | WinCC OA V3.19 - Para Standard UPG
6AV6355-1CA47-7CH1 | WinCC OA V3.19 - Para Standard REDU UPG
6AV6355-1CA47-7CH2 | WinCC OA V3.19 - Para Remote UPG
6AV6355-1CA47-7DA1 | WinCC OA V3.19 - Driver S7 64 UPG
6AV6355-1CA47-7DA2 | WinCC OA V3.19 - Driver S7 512 UPG
6AV6355-1CA47-7DA4 | WinCC OA V3.19 - Driver PROFINet UPG
6AV6355-1CA47-7DA5 | WinCC OA V3.19 - Driver PROFISafe UPG
6AV6355-1CA47-7DB2 | WinCC OA V3.19 - Driver DNP3 UPG
6AV6355-1CA47-7DC0 | WinCC OA V3.19 - Driver IEC 101 UPG
6AV6355-1CA47-7DC1 | WinCC OA V3.19 - Driver IEC 104 UPG
6AV6355-1CA47-7DC2 | WinCC OA V3.19 - Driver IEC 61850/61400 UPG
6AV6355-1CA47-7DC3 | WinCC OA V3.19 - Driver SAIA-S-Bus UPG
6AV6355-1CA47-7DC4 | WinCC OA V3.19 - Driver TLS UPG
6AV6355-1CA47-7DC5 | WinCC OA V3.19 - Driver SSI UPG
6AV6355-1CA47-7DD0 | WinCC OA V3.19 - Driver Modbus UPG
6AV6355-1CA47-7DE0 | WinCC OA V3.19 - Driver RK512 UPG
6AV6355-1CA47-7DF2 | WinCC OA V3.19 - Driver SINAUT UPG
6AV6355-1CA47-7DG0 | WinCC OA V3.19 - Driver SNMP UPG
6AV6355-1CA47-7DJ0 | WinCC OA V3.19 - Driver EIP UPG
6AV6355-1CA47-7DJ1 | WinCC OA V3.19 - Driver Omron FINS UPG
6AV6355-1CA47-7DK2 | WinCC OA V3.19 - Driver MQTT Client UPG
6AV6355-1CA47-7EA0 | WinCC OA V3.19 - RDB UPG
6AV6355-1CA47-7EA1 | WinCC OA V3.19 - DB Logger UPG
6AV6355-1CA47-7EB0 | WinCC OA V3.19 - BACnet UPG
6AV6355-1CA47-7DL1 | WinCC OA V3.19 - BACnet Objects 200 UPG
6AV6355-1CA47-7DL2 | WinCC OA V3.19 - BACnet Objects 500 UPG
6AV6355-1CA47-7DL3 | WinCC OA V3.19 - BACnet Objects 1k UPG
6AV6355-1CA47-7DL4 | WinCC OA V3.19 - BACnet Objects 3k UPG
6AV6355-1CA47-7DL5 | WinCC OA V3.19 - BACnet Objects 5k UPG
6AV6355-1CA47-7DL6 | WinCC OA V3.19 - BACnet Objects 30k UPG
6AV6355-1CA47-7DL7 | WinCC OA V3.19 - BACnet Objects Unlimited UPG
6AV6355-1CA47-7DM0 | WinCC OA V3.19 - BACnetpack 200/500 UPG
6AV6355-1CA47-7DM1 | WinCC OA V3.19 - BACnetpack 500/1k UPG
6AV6355-1CA47-7DM2 | WinCC OA V3.19 - BACnetpack 1k/3k UPG
6AV6355-1CA47-7DM3 | WinCC OA V3.19 - BACnetpack 3k/5k UPG
6AV6355-1CA47-7DM4 | WinCC OA V3.19 - BACnetpack 5k/30k UPG
6AV6355-1CA47-7DM5 | WinCC OA V3.19 - BACnetpack 30k/Unlimited UPG
6AV6355-1CA47-7EC0 | WinCC OA V3.19 - CommCenter 1 UPG
6AV6355-1CA47-7EC1 | WinCC OA V3.19 - CommCenter 2 UPG
6AV6355-1CA47-7EC2 | WinCC OA V3.19 - CommCenter 3 UPG
6AV6355-1CA47-7EC3 | WinCC OA V3.19 - CommCenter 4 UPG
6AV6355-1CA47-7ED2 | WinCC OA V3.19 - Custom Comp UPG
6AV6355-1CA47-7ED3 | WinCC OA V3.19 - Custom Comp REDU UPG
6AV6355-1CA47-7EE0 | WinCC OA V3.19 - Dist System UPG
6AV6355-1CA47-7EF0 | WinCC OA V3.19 - Redundancy UPG
6AV6355-1CA47-7EF1 | WinCC OA V3.19 - DRS UPG
6AV6355-1CA47-7EG0 | WinCC OA V3.19 - Secure UPG
6AV6355-1CA47-7EH5 | WinCC OA V3.19 - Map UPG
6AV6355-1CA47-7EJ0 | WinCC OA V3.19 - Maintenance UPG
6AV6355-1CA47-7EK0 | WinCC OA V3.19 - OPC UA Server UPG
6AV6355-1CA47-7EK1 | WinCC OA V3.19 - MindSphere UPG
6AV6355-1CA47-7EK2 | WinCC OA V3.19 - Modbus Server UPG
6AV6355-1CA47-7EL0 | WinCC OA V3.19 - Recipe UPG
6AV6355-1CA47-7EM0 | WinCC OA V3.19 - Report Client 1 UPG
6AV6355-1CA47-7EM1 | WinCC OA V3.19 - Report Client 2 UPG
6AV6355-1CA47-7EM2 | WinCC OA V3.19 - Report Clients 5 UPG
6AV6355-1CA47-7EM3 | WinCC OA V3.19 - Report Clients 10 UPG
6AV6355-1CA47-7EM5 | WinCC OA V3.19 - Report 1 REDU UPG
6AV6355-1CA47-7EM6 | WinCC OA V3.19 - Report 2 REDU UPG
6AV6355-1CA47-7EM7 | WinCC OA V3.19 - Report 5 REDU UPG
6AV6355-1CA47-7EM8 | WinCC OA V3.19 - Report 10 REDU UPG
6AV6355-1CA47-7EN0 | WinCC OA V3.19 - Scheduler UPG
6AV6355-1CA47-7EP0 | WinCC OA V3.19 - SmartSCADA Toolbox UPG
6AV6355-1CA47-7EP1 | WinCC OA V3.19 - SmartSCADA KPI Ext. UPG
6AV6355-1CA47-7EP2 | WinCC OA V3.19 - SmartSCADA Analytics UPG
6AV6355-1CA47-7EQ0 | WinCC OA V3.19 - Video Light UPG
6AV6355-1CA47-7EQ1 | WinCC OA V3.19 - Video Basic UPG
6AV6355-1CA47-7EQ2 | WinCC OA V3.19 - Video Display UPG
6AV6355-1CA47-7ER0 | WinCC OA V3.19 - Video 1 UPG
6AV6355-1CA47-7ER1 | WinCC OA V3.19 - Video 10 UPG
6AV6355-1CA47-7ER2 | WinCC OA V3.19 - Video 25 UPG
6AV6355-1CA47-7ER3 | WinCC OA V3.19 - Video 50 UPG
6AV6355-1CA47-7ER4 | WinCC OA V3.19 - Video 100 UPG
6AV6355-1CA47-7ER5 | WinCC OA V3.19 - Video 250 UPG
6AV6355-1CA47-7ER6 | WinCC OA V3.19 - Video 500 UPG
6AV6355-1CA47-7ES0 | WinCC OA V3.19 - Video 1 REDU UPG
6AV6355-1CA47-7ES1 | WinCC OA V3.19 - Video 10 REDU UPG
6AV6355-1CA47-7ES2 | WinCC OA V3.19 - Video 25 REDU UPG
6AV6355-1CA47-7ES3 | WinCC OA V3.19 - Video 50 REDU UPG
6AV6355-1CA47-7ES4 | WinCC OA V3.19 - Video 100 REDU UPG
6AV6355-1CA47-7ES5 | WinCC OA V3.19 - Video 250 REDU UPG
6AV6355-1CA47-7ES6 | WinCC OA V3.19 - Video 500 REDU UPG
6AV6355-1CA47-7ET2 | WinCC OA V3.19 - 1 Websocket Connection UPG
6AV6355-1CA47-7HA0 | WinCC OA V3.19 - Topology Package UPG
6AV6355-1CA47-7HB0 | WinCC OA V3.19 - APM Package UPG
6AV6355-1CA47-7HC1 | WinCC OA V3.19 - AMS Package Entry UPG
6AV6355-1CA47-7HC2 | WinCC OA V3.19 - AMS Package Small UPG
6AV6355-1CA47-7HC3 | WinCC OA V3.19 - AMS Package Medium UPG
6AV6355-1CA47-7HC4 | WinCC OA V3.19 - AMS Package Large UPG
6AV6355-1CA47-7HC5 | WinCC OA V3.19 - AMS Package Unlimited UPG
6AV6355-1CA47-7HC6 | WinCC OA V3.19 - AMS Package Extension UPG
6AV6355-1CA47-7CL0 | WinCC OA V3.19 - 1 Web DashbOA V3.19rd UPG
6AV6355-1CA47-7CL1 | WinCC OA V3.19 - 10 Web DashbOA V3.19rds UPG
6AV6355-1CA47-7CL2 | WinCC OA V3.19 - 25 Web DashbOA V3.19rds UPG
6AV6355-1CA47-7CL3 | WinCC OA V3.19 - 50 Web DashbOA V3.19rds UPG
6AV6355-1CA47-7CL4 | WinCC OA V3.19 - 100 DashbOA V3.19rds UPG
6AV6355-1CA47-7CJ0 | WinCC OA V3.19 - 1 Mobile DashbOA V3.19rd UPG
6AV6355-1CA47-7CJ1 | WinCC OA V3.19 - 10 Mobile DashbOA V3.19rds UPG
6AV6355-1CA47-7CJ2 | WinCC OA V3.19 - 25 Mobile DashbOA V3.19rds UPG
6AV6355-1CA47-7CJ3 | WinCC OA V3.19 - 50 Mobile DashbOA V3.19rds UPG
6AV6355-1CA47-7CJ4 | WinCC OA V3.19 - 100 Mobile DashbOA V3.19rds UPG
6AV6355-1CA47-7EA2 | WinCC OA V3.19 - NGA Standard UPG
6AV6355-1CA47-7EA3 | WinCC OA V3.19 - NGA Premium UPG
6AV6355-1CA47-7EA4 | WinCC OA V3.19 - NGA Backend Connection UPG

## SUS&SMS&POS
MLFB | Prodotto
6AV6355-1DA00-0AA0 | WinCC OA - Single Station SUS
6AV6355-1DA00-0AA1 | WinCC OA - Para Single Station SUS
6AV6355-1DA00-0BA0 | WinCC OA - Server Basic SUS
6AV6355-1DA00-0BB0 | WinCC OA - 1k PowerTags SUS
6AV6355-1DA00-0BB1 | WinCC OA - 3k PowerTags SUS
6AV6355-1DA00-0BB2 | WinCC OA - 5k PowerTags SUS
6AV6355-1DA00-0BB3 | WinCC OA - 10k PowerTags SUS
6AV6355-1DA00-0BB4 | WinCC OA - 15k PowerTags SUS
6AV6355-1DA00-0BB5 | WinCC OA - 25k PowerTags SUS
6AV6355-1DA00-0BB6 | WinCC OA - 50k PowerTags SUS
6AV6355-1DA00-0BB7 | WinCC OA - 75k PowerTags SUS
6AV6355-1DA00-0BB8 | WinCC OA - 100k PowerTags SUS
6AV6355-1DA00-0BC0 | WinCC OA - 150k PowerTags SUS
6AV6355-1DA00-0BC1 | WinCC OA - 200k PowerTags SUS
6AV6355-1DA00-0BC2 | WinCC OA - 250k PowerTags SUS
6AV6355-1DA00-0BC3 | WinCC OA - Unlimited PowerTags SUS
6AV6355-1DA00-0BD0 | WinCC OA – da 1k a 3k Powerpack SUS
6AV6355-1DA00-0BD1 | WinCC OA – da 3k a 5k Powerpack SUS
6AV6355-1DA00-0BD2 | WinCC OA – da 5k a 10k Powerpack SUS
6AV6355-1DA00-0BD3 | WinCC OA – da 10k a 15k Powerpack SUS
6AV6355-1DA00-0BD4 | WinCC OA – da 15k a 25k Powerpack SUS
6AV6355-1DA00-0BD5 | WinCC OA – da 25k a 50k Powerpack SUS
6AV6355-1DA00-0BD6 | WinCC OA – da 50k a 75k Powerpack SUS
6AV6355-1DA00-0BD7 | WinCC OA – da 75k a 100k Powerpack SUS
6AV6355-1DA00-0BE0 | WinCC OA – da 100k a 150k Powerpack SUS
6AV6355-1DA00-0BE1 | WinCC OA – da 150k a 200k Powerpack SUS
6AV6355-1DA00-0BE2 | WinCC OA – da 200k a 250k Powerpack SUS
6AV6355-1DA00-0BE3 | WinCC OA – da 250k a Unlimited Powerpack SUS
6AV6355-1DA00-0CA0 | WinCC OA - 1 Desktop UI SUS
6AV6355-1DA00-0CA1 | WinCC OA - 10 Desktop UI SUS
6AV6355-1DA00-0CA2 | WinCC OA - 25 Desktop UI SUS
6AV6355-1DA00-0CA3 | WinCC OA - 50 Desktop UI SUS
6AV6355-1DA00-0CA4 | WinCC OA - 100 Desktop UI SUS
6AV6355-1DA00-0CB0 | WinCC OA - 1 Desktop UI REDU SUS
6AV6355-1DA00-0CB1 | WinCC OA - 10 Desktop UI REDU SUS
6AV6355-1DA00-0CB2 | WinCC OA - 25 Desktop UI REDU SUS
6AV6355-1DA00-0CB3 | WinCC OA - 50 Desktop UI REDU SUS
6AV6355-1DA00-0CB4 | WinCC OA - 100 Desktop UI REDU SUS
6AV6355-1DA00-0CC0 | WinCC OA - 1 ULC UX SUS
6AV6355-1DA00-0CC1 | WinCC OA - 10 ULC UX SUS
6AV6355-1DA00-0CC2 | WinCC OA - 25 ULC UX SUS
6AV6355-1DA00-0CC3 | WinCC OA - 50 ULC UX SUS
6AV6355-1DA00-0CC4 | WinCC OA - 100 ULC UX SUS
6AV6355-1DA00-0CD0 | WinCC OA - 1 ULC UX REDU SUS
6AV6355-1DA00-0CD1 | WinCC OA - 10 ULC UX REDU SUS
6AV6355-1DA00-0CD2 | WinCC OA - 25 ULC UX REDU SUS
6AV6355-1DA00-0CD3 | WinCC OA - 50 ULC UX REDU SUS
6AV6355-1DA00-0CD4 | WinCC OA - 100 ULC UX REDU SUS
6AV6355-1DA00-0ET1 | WinCC OA - ULC UX Load Balancing SUS
6AV6355-1DA00-0CE0 | WinCC OA - 1 Mobile SUS
6AV6355-1DA00-0CE1 | WinCC OA - 10 Mobiles SUS
6AV6355-1DA00-0CE2 | WinCC OA - 25 Mobiles SUS
6AV6355-1DA00-0CE3 | WinCC OA - 50 Mobiles SUS
6AV6355-1DA00-0CE4 | WinCC OA - 100 Mobiles SUS
6AV6355-1DA00-0CF0 | WinCC OA - 1 Mobile REDU SUS
6AV6355-1DA00-0CF1 | WinCC OA - 10 Mobiles REDU SUS
6AV6355-1DA00-0CF2 | WinCC OA - 25 Mobiles REDU SUS
6AV6355-1DA00-0CF3 | WinCC OA - 50 Mobiles REDU SUS
6AV6355-1DA00-0CF4 | WinCC OA - 100 Mobiles REDU SUS
6AV6355-1DA00-0CH0 | WinCC OA - Para Standard SUS
6AV6355-1DA00-0CH1 | WinCC OA - Para Standard REDU SUS
6AV6355-1DA00-0CH2 | WinCC OA - Para Remote SUS
6AV6355-1DA00-0DA1 | WinCC OA - Driver S7 64 SUS
6AV6355-1DA00-0DA2 | WinCC OA - Driver S7 512 SUS
6AV6355-1DA00-0DA4 | WinCC OA - Driver PROFINet SUS
6AV6355-1DA00-0DA5 | WinCC OA - Driver PROFISafe SUS
6AV6355-1DA00-0DB0 | WinCC OA - Driver DNP3 100 SUS
6AV6355-1DA00-0DB1 | WinCC OA - Driver DNP3 1000 SUS
6AV6355-1DA00-0DB2 | WinCC OA - Driver DNP3 SUS
6AV6355-1DA00-0DC0 | WinCC OA - Driver IEC 101 SUS
6AV6355-1DA00-0DC1 | WinCC OA - Driver IEC 104 SUS
6AV6355-1DA00-0DC2 | WinCC OA - Driver IEC 61850/61400 SUS
6AV6355-1DA00-0DC3 | WinCC OA - Driver SAIA-S-Bus SUS
6AV6355-1DA00-0DC4 | WinCC OA - Driver TLS SUS
6AV6355-1DA00-0DC5 | WinCC OA - Driver SSI SUS
6AV6355-1DA00-0DD0 | WinCC OA - Driver Modbus SUS
6AV6355-1DA00-0DE0 | WinCC OA - Driver RK512 SUS
6AV6355-1DA00-0DF0 | WinCC OA - Driver SINAUT 50 SUS
6AV6355-1DA00-0DF1 | WinCC OA - Driver SINAUT 250 SUS
6AV6355-1DA00-0DF2 | WinCC OA - Driver SINAUT SUS
6AV6355-1DA00-0DG0 | WinCC OA - Driver SNMP SUS
6AV6355-1DA00-0DH0 | WinCC OA - Driver Cerberus SUS
6AV6355-1DA00-0DJ0 | WinCC OA - Driver EIP SUS
6AV6355-1DA00-0DJ1 | WinCC OA - Driver Omron FINS SUS
6AV6355-1DA00-0DK2 | WinCC OA - Driver MQTT Client SUS
6AV6355-1DA00-0EA0 | WinCC OA - RDB SUS
6AV6355-1DA00-0EA1 | WinCC OA - DB Logger SUS
6AV6355-1DA00-0EB0 | WinCC OA - BACnet SUS
6AV6355-1DA00-0DL1 | WinCC OA - BACnet Objects 200 SUS
6AV6355-1DA00-0DL2 | WinCC OA - BACnet Objects 500 SUS
6AV6355-1DA00-0DL3 | WinCC OA - BACnet Objects 1k SUS
6AV6355-1DA00-0DL4 | WinCC OA - BACnet Objects 3k SUS
6AV6355-1DA00-0DL5 | WinCC OA - BACnet Objects 5k SUS
6AV6355-1DA00-0DL6 | WinCC OA - BACnet Objects 30k SUS
6AV6355-1DA00-0DL7 | WinCC OA - BACnet Objects Unlimited SUS
6AV6355-1DA00-0DM0 | WinCC OA - BACnetpack 200/500 SUS
6AV6355-1DA00-0DM1 | WinCC OA - BACnetpack 500/1k SUS
6AV6355-1DA00-0DM2 | WinCC OA - BACnetpack 1k/3k SUS
6AV6355-1DA00-0DM3 | WinCC OA - BACnetpack 3k/5k SUS
6AV6355-1DA00-0DM4 | WinCC OA - BACnetpack 5k/30k SUS
6AV6355-1DA00-0DM5 | WinCC OA - BACnetpack 30k/Unlimited SUS
6AV6355-1DA00-0EC0 | WinCC OA - CommCenter 1 SUS
6AV6355-1DA00-0EC1 | WinCC OA - CommCenter 2 SUS
6AV6355-1DA00-0EC2 | WinCC OA - CommCenter 3 SUS
6AV6355-1DA00-0EC3 | WinCC OA - CommCenter 4 SUS
6AV6355-1DA00-0ED2 | WinCC OA - Custom Comp SUS
6AV6355-1DA00-0ED3 | WinCC OA - Custom Comp REDU SUS
6AV6355-1DA00-0EE0 | WinCC OA - Dist System SUS
6AV6355-1DA00-0EF0 | WinCC OA - Redundancy SUS
6AV6355-1DA00-0EF1 | WinCC OA - DRS SUS
6AV6355-1DA00-0EG0 | WinCC OA - Secure SUS
6AV6355-1DA00-0EH5 | WinCC OA - Map SUS
6AV6355-1DA00-0EJ0 | WinCC OA - Maintenance SUS
6AV6355-1DA00-0EK0 | WinCC OA - OPC UA Server SUS
6AV6355-1DA00-0EK1 | WinCC OA - MindSphere SUS
6AV6355-1DA00-0EK2 | WinCC OA - Modbus Server SUS
6AV6355-1DA00-0EK3 | WinCC OA - OPC Server SUS
6AV6355-1DA00-0EL0 | WinCC OA - Recipe SUS
6AV6355-1DA00-0EM0 | WinCC OA - Report Client 1 SUS
6AV6355-1DA00-0EM1 | WinCC OA - Report Client 2 SUS
6AV6355-1DA00-0EM2 | WinCC OA - Report Clients 5 SUS
6AV6355-1DA00-0EM3 | WinCC OA - Report Clients 10 SUS
6AV6355-1DA00-0EM5 | WinCC OA - Report 1 REDU SUS
6AV6355-1DA00-0EM6 | WinCC OA - Report 2 REDU SUS
6AV6355-1DA00-0EM7 | WinCC OA - Report 5 REDU SUS
6AV6355-1DA00-0EM8 | WinCC OA - Report 10 REDU SUS
6AV6355-1DA00-0EN0 | WinCC OA - Scheduler SUS
6AV6355-1DA00-0EP0 | WinCC OA - SmartSCADA Toolbox SUS
6AV6355-1DA00-0EP1 | WinCC OA - SmartSCADA KPI Ext. SUS
6AV6355-1DA00-0EP2 | WinCC OA - SmartSCADA Analytics SUS
6AV6355-1DA00-0EQ0 | WinCC OA - Video Light SUS
6AV6355-1DA00-0EQ1 | WinCC OA - Video Basic SUS
6AV6355-1DA00-0EQ2 | WinCC OA - Video Display SUS
6AV6355-1DA00-0ER0 | WinCC OA - Video 1 SUS
6AV6355-1DA00-0ER1 | WinCC OA - Video 10 SUS
6AV6355-1DA00-0ER2 | WinCC OA - Video 25 SUS
6AV6355-1DA00-0ER3 | WinCC OA - Video 50 SUS
6AV6355-1DA00-0ER4 | WinCC OA - Video 100 SUS
6AV6355-1DA00-0ER5 | WinCC OA - Video 250 SUS
6AV6355-1DA00-0ER6 | WinCC OA - Video 500 SUS
6AV6355-1DA00-0ES0 | WinCC OA - Video 1 REDU SUS
6AV6355-1DA00-0ES1 | WinCC OA - Video 10 REDU SUS
6AV6355-1DA00-0ES2 | WinCC OA - Video 25 REDU SUS
6AV6355-1DA00-0ES3 | WinCC OA - Video 50 REDU SUS
6AV6355-1DA00-0ES4 | WinCC OA - Video 100 REDU SUS
6AV6355-1DA00-0ES5 | WinCC OA - Video 250 REDU SUS
6AV6355-1DA00-0ES6 | WinCC OA - Video 500 REDU SUS
6AV6355-1DA00-0ET0 | WinCC OA - Webserver SUS
6AV6355-1DA00-0HA0 | WinCC OA - Topology Package SUS
6AV6355-1DA00-0HB0 | WinCC OA - APM Package SUS
6AV6355-1DA00-0HC1 | WinCC OA - AMS Package Entry SUS
6AV6355-1DA00-0HC2 | WinCC OA - AMS Package Small SUS
6AV6355-1DA00-0HC3 | WinCC OA - AMS Package Medium SUS
6AV6355-1DA00-0HC4 | WinCC OA - AMS Package Large SUS
6AV6355-1DA00-0HC5 | WinCC OA - AMS Package Unlimited SUS
6AV6355-1DA00-0HC6 | WinCC OA - AMS Package Extension SUS
6AV6355-1DA00-0CL0 | WinCC OA - 1 Dashboard SUS
6AV6355-1DA00-0CL1 | WinCC OA - 10 Dashboards SUS
6AV6355-1DA00-0CL2 | WinCC OA - 25 Dashboards SUS
6AV6355-1DA00-0CL3 | WinCC OA - 50 Dashboards SUS
6AV6355-1DA00-0CL4 | WinCC OA - 100 Dashboards SUS
6AV6355-1DA00-0CJ0 | WinCC OA - 1 Mobile Dashboard SUS
6AV6355-1DA00-0CJ1 | WinCC OA - 10 Mobile Dashboards SUS
6AV6355-1DA00-0CJ2 | WinCC OA - 25 Mobile Dashboards SUS
6AV6355-1DA00-0CJ3 | WinCC OA - 50 Mobile Dashboards SUS
6AV6355-1DA00-0CJ4 | WinCC OA - 100 Mobile Dashboards SUS
6AV6355-1DA00-0CM0 | WinCC OA - 1 Dashboard REDU SUS
6AV6355-1DA00-0CM1 | WinCC OA - 10 Dashboards REDU SUS
6AV6355-1DA00-0CM2 | WinCC OA - 25 Dashboards REDU SUS
6AV6355-1DA00-0CM3 | WinCC OA - 50 Dashboards REDU SUS
6AV6355-1DA00-0CM4 | WinCC OA - 100 Dashboards REDU SUS
6AV6355-1DA00-0CK0 | WinCC OA - 1 Mobile Dashboard REDU SUS
6AV6355-1DA00-0CK1 | WinCC OA - 10 Mobile Dashboards REDU SUS
6AV6355-1DA00-0CK2 | WinCC OA - 25 Mobile Dashboards REDU SUS
6AV6355-1DA00-0CK3 | WinCC OA - 50 Mobile Dashboards REDU SUS
6AV6355-1DA00-0CK4 | WinCC OA - 100 Mobile Dashboards REDU SUS
6AV6355-1DA00-0EA2 | WinCC OA - NGA Standard SUS
6AV6355-1DA00-0EA3 | WinCC OA - NGA Premium SUS
6AV6355-1DA00-0EA4 | WinCC OA - NGA Backend Connection SUS
6AV6355-1FA00-0AA0 | WinCC OA - Single Station SMS
6AV6355-1FA00-0AA1 | WinCC OA - Para Single Station SMS
6AV6355-1FA00-0BA0 | WinCC OA - Server Basic SMS
6AV6355-1FA00-0BB0 | WinCC OA - 1k PowerTags SMS
6AV6355-1FA00-0BB1 | WinCC OA - 3k PowerTags SMS
6AV6355-1FA00-0BB2 | WinCC OA - 5k PowerTags SMS
6AV6355-1FA00-0BB3 | WinCC OA - 10k PowerTags SMS
6AV6355-1FA00-0BB4 | WinCC OA - 15k PowerTags SMS
6AV6355-1FA00-0BB5 | WinCC OA - 25k PowerTags SMS
6AV6355-1FA00-0BB6 | WinCC OA - 50k PowerTags SMS
6AV6355-1FA00-0BB7 | WinCC OA - 75k PowerTags SMS
6AV6355-1FA00-0BB8 | WinCC OA - 100k PowerTags SMS
6AV6355-1FA00-0BC0 | WinCC OA - 150k PowerTags SMS
6AV6355-1FA00-0BC1 | WinCC OA - 200k PowerTags SMS
6AV6355-1FA00-0BC2 | WinCC OA - 250k PowerTags SMS
6AV6355-1FA00-0BC3 | WinCC OA - Unlimited PowerTags SMS
6AV6355-1FA00-0BD0 | WinCC OA – da 1k a 3k Powerpack SMS
6AV6355-1FA00-0BD1 | WinCC OA – da 3k a 5k Powerpack SMS
6AV6355-1FA00-0BD2 | WinCC OA – da 5k a 10k Powerpack SMS
6AV6355-1FA00-0BD3 | WinCC OA – da 10k a 15k Powerpack SMS
6AV6355-1FA00-0BD4 | WinCC OA – da 15k a 25k Powerpack SMS
6AV6355-1FA00-0BD5 | WinCC OA – da 25k a 50k Powerpack SMS
6AV6355-1FA00-0BD6 | WinCC OA – da 50k a 75k Powerpack SMS
6AV6355-1FA00-0BD7 | WinCC OA – da 75k a 100k Powerpack SMS
6AV6355-1FA00-0BE0 | WinCC OA – da 100k a 150k Powerpack SMS
6AV6355-1FA00-0BE1 | WinCC OA – da 150k a 200k Powerpack SMS
6AV6355-1FA00-0BE2 | WinCC OA – da 200k a 250k Powerpack SMS
6AV6355-1FA00-0BE3 | WinCC OA – da 250k a Unlimited Powerpack SMS
6AV6355-1FA00-0CA0 | WinCC OA - 1 Desktop UI SMS
6AV6355-1FA00-0CA1 | WinCC OA - 10 Desktop UI SMS
6AV6355-1FA00-0CA2 | WinCC OA - 25 Desktop UI SMS
6AV6355-1FA00-0CA3 | WinCC OA - 50 Desktop UI SMS
6AV6355-1FA00-0CA4 | WinCC OA - 100 Desktop UI SMS
6AV6355-1FA00-0CB0 | WinCC OA - 1 Desktop UI REDU SMS
6AV6355-1FA00-0CB1 | WinCC OA - 10 Desktop UI REDU SMS
6AV6355-1FA00-0CB2 | WinCC OA - 25 Desktop UI REDU SMS
6AV6355-1FA00-0CB3 | WinCC OA - 50 Desktop UI REDU SMS
6AV6355-1FA00-0CB4 | WinCC OA - 100 Desktop UI REDU SMS
6AV6355-1FA00-0CC0 | WinCC OA - 1 ULC UX SMS
6AV6355-1FA00-0CC1 | WinCC OA - 10 ULC UX SMS
6AV6355-1FA00-0CC2 | WinCC OA - 25 ULC UX SMS
6AV6355-1FA00-0CC3 | WinCC OA - 50 ULC UX SMS
6AV6355-1FA00-0CC4 | WinCC OA - 100 ULC UX SMS
6AV6355-1FA00-0CD0 | WinCC OA - 1 ULC UX REDU SMS
6AV6355-1FA00-0CD1 | WinCC OA - 10 ULC UX REDU SMS
6AV6355-1FA00-0CD2 | WinCC OA - 25 ULC UX REDU SMS
6AV6355-1FA00-0CD3 | WinCC OA - 50 ULC UX REDU SMS
6AV6355-1FA00-0CD4 | WinCC OA - 100 ULC UX REDU SMS
6AV6355-1FA00-0ET1 | WinCC OA - ULC UX Load Balancing SMS
6AV6355-1FA00-0CE0 | WinCC OA - 1 Mobile SMS
6AV6355-1FA00-0CE1 | WinCC OA - 10 Mobiles SMS
6AV6355-1FA00-0CE2 | WinCC OA - 25 Mobiles SMS
6AV6355-1FA00-0CE3 | WinCC OA - 50 Mobiles SMS
6AV6355-1FA00-0CE4 | WinCC OA - 100 Mobiles SMS
6AV6355-1FA00-0CF0 | WinCC OA - 1 Mobile REDU SMS
6AV6355-1FA00-0CF1 | WinCC OA - 10 Mobiles REDU SMS
6AV6355-1FA00-0CF2 | WinCC OA - 25 Mobiles REDU SMS
6AV6355-1FA00-0CF3 | WinCC OA - 50 Mobiles REDU SMS
6AV6355-1FA00-0CF4 | WinCC OA - 100 Mobiles REDU SMS
6AV6355-1FA00-0CH0 | WinCC OA - Para Standard SMS
6AV6355-1FA00-0CH1 | WinCC OA - Para Standard REDU SMS
6AV6355-1FA00-0CH2 | WinCC OA - Para Remote SMS
6AV6355-1FA00-0DA1 | WinCC OA - Driver S7 64 SMS
6AV6355-1FA00-0DA2 | WinCC OA - Driver S7 512 SMS
6AV6355-1FA00-0DA4 | WinCC OA - Driver PROFINet SMS
6AV6355-1FA00-0DA5 | WinCC OA - Driver PROFISafe SMS
6AV6355-1FA00-0DB0 | WinCC OA - Driver DNP3 100 SMS
6AV6355-1FA00-0DB1 | WinCC OA - Driver DNP3 1000 SMS
6AV6355-1FA00-0DB2 | WinCC OA - Driver DNP3 SMS
6AV6355-1FA00-0DC0 | WinCC OA - Driver IEC 101 SMS
6AV6355-1FA00-0DC1 | WinCC OA - Driver IEC 104 SMS
6AV6355-1FA00-0DC2 | WinCC OA - Driver IEC 61850/61400 SMS
6AV6355-1FA00-0DC3 | WinCC OA - Driver SAIA-S-Bus SMS
6AV6355-1FA00-0DC4 | WinCC OA - Driver TLS SMS
6AV6355-1FA00-0DC5 | WinCC OA - Driver SSI SMS
6AV6355-1FA00-0DD0 | WinCC OA - Driver Modbus SMS
6AV6355-1FA00-0DE0 | WinCC OA - Driver RK512 SMS
6AV6355-1FA00-0DF0 | WinCC OA - Driver SINAUT 50 SMS
6AV6355-1FA00-0DF1 | WinCC OA - Driver SINAUT 250 SMS
6AV6355-1FA00-0DF2 | WinCC OA - Driver SINAUT SMS
6AV6355-1FA00-0DG0 | WinCC OA - Driver SNMP SMS
6AV6355-1FA00-0DH0 | WinCC OA - Driver Cerberus SMS
6AV6355-1FA00-0DJ0 | WinCC OA - Driver EIP SMS
6AV6355-1FA00-0DJ1 | WinCC OA - Driver Omron FINS SMS
6AV6355-1FA00-0DK2 | WinCC OA - Driver MQTT Client SMS
6AV6355-1FA00-0EA0 | WinCC OA - RDB SMS
6AV6355-1FA00-0EA1 | WinCC OA - DB Logger SMS
6AV6355-1FA00-0EB0 | WinCC OA - BACnet SMS
6AV6355-1FA00-0DL1 | WinCC OA - BACnet Objects 200 SMS
6AV6355-1FA00-0DL2 | WinCC OA - BACnet Objects 500 SMS
6AV6355-1FA00-0DL3 | WinCC OA - BACnet Objects 1k SMS
6AV6355-1FA00-0DL4 | WinCC OA - BACnet Objects 3k SMS
6AV6355-1FA00-0DL5 | WinCC OA - BACnet Objects 5k SMS
6AV6355-1FA00-0DL6 | WinCC OA - BACnet Objects 30k SMS
6AV6355-1FA00-0DL7 | WinCC OA - BACnet Objects Unlimited SMS
6AV6355-1FA00-0DM0 | WinCC OA - BACnetpack 200/500 SMS
6AV6355-1FA00-0DM1 | WinCC OA - BACnetpack 500/1k SMS
6AV6355-1FA00-0DM2 | WinCC OA - BACnetpack 1k/3k SMS
6AV6355-1FA00-0DM3 | WinCC OA - BACnetpack 3k/5k SMS
6AV6355-1FA00-0DM4 | WinCC OA - BACnetpack 5k/30k SMS
6AV6355-1FA00-0DM5 | WinCC OA - BACnetpack 30k/Unlimited SMS
6AV6355-1FA00-0EC0 | WinCC OA - CommCenter 1 SMS
6AV6355-1FA00-0EC1 | WinCC OA - CommCenter 2 SMS
6AV6355-1FA00-0EC2 | WinCC OA - CommCenter 3 SMS
6AV6355-1FA00-0EC3 | WinCC OA - CommCenter 4 SMS
6AV6355-1FA00-0ED2 | WinCC OA - Custom Comp SMS
6AV6355-1FA00-0ED3 | WinCC OA - Custom Comp REDU SMS
6AV6355-1FA00-0EE0 | WinCC OA - Dist System SMS
6AV6355-1FA00-0EF0 | WinCC OA - Redundancy SMS
6AV6355-1FA00-0EF1 | WinCC OA - DRS SMS
6AV6355-1FA00-0EG0 | WinCC OA - Secure SMS
6AV6355-1FA00-0EH5 | WinCC OA - Map SMS
6AV6355-1FA00-0EJ0 | WinCC OA - Maintenance SMS
6AV6355-1FA00-0EK0 | WinCC OA - OPC UA Server SMS
6AV6355-1FA00-0EK1 | WinCC OA - MindSphere SMS
6AV6355-1FA00-0EK2 | WinCC OA - Modbus Server SMS
6AV6355-1FA00-0EK3 | WinCC OA - OPC Server SMS
6AV6355-1FA00-0EL0 | WinCC OA - Recipe SMS
6AV6355-1FA00-0EM0 | WinCC OA - Report Client 1 SMS
6AV6355-1FA00-0EM1 | WinCC OA - Report Client 2 SMS
6AV6355-1FA00-0EM2 | WinCC OA - Report Clients 5 SMS
6AV6355-1FA00-0EM3 | WinCC OA - Report Clients 10 SMS
6AV6355-1FA00-0EM5 | WinCC OA - Report 1 REDU SMS
6AV6355-1FA00-0EM6 | WinCC OA - Report 2 REDU SMS
6AV6355-1FA00-0EM7 | WinCC OA - Report 5 REDU SMS
6AV6355-1FA00-0EM8 | WinCC OA - Report 10 REDU SMS
6AV6355-1FA00-0EN0 | WinCC OA - Scheduler SMS
6AV6355-1FA00-0EP0 | WinCC OA - SmartSCADA Toolbox SMS
6AV6355-1FA00-0EP1 | WinCC OA - SmartSCADA KPI Ext. SMS
6AV6355-1FA00-0EP2 | WinCC OA - SmartSCADA Analytics SMS
6AV6355-1FA00-0EQ0 | WinCC OA - Video Light SMS
6AV6355-1FA00-0EQ1 | WinCC OA - Video Basic SMS
6AV6355-1FA00-0EQ2 | WinCC OA - Video Display SMS
6AV6355-1FA00-0ER0 | WinCC OA - Video 1 SMS
6AV6355-1FA00-0ER1 | WinCC OA - Video 10 SMS
6AV6355-1FA00-0ER2 | WinCC OA - Video 25 SMS
6AV6355-1FA00-0ER3 | WinCC OA - Video 50 SMS
6AV6355-1FA00-0ER4 | WinCC OA - Video 100 SMS
6AV6355-1FA00-0ER5 | WinCC OA - Video 250 SMS
6AV6355-1FA00-0ER6 | WinCC OA - Video 500 SMS
6AV6355-1FA00-0ES0 | WinCC OA - Video 1 REDU SMS
6AV6355-1FA00-0ES1 | WinCC OA - Video 10 REDU SMS
6AV6355-1FA00-0ES2 | WinCC OA - Video 25 REDU SMS
6AV6355-1FA00-0ES3 | WinCC OA - Video 50 REDU SMS
6AV6355-1FA00-0ES4 | WinCC OA - Video 100 REDU SMS
6AV6355-1FA00-0ES5 | WinCC OA - Video 250 REDU SMS
6AV6355-1FA00-0ES6 | WinCC OA - Video 500 REDU SMS
6AV6355-1FA00-0ET0 | WinCC OA - Webserver SMS
6AV6355-1FA00-0HA0 | WinCC OA - Topology Package SMS
6AV6355-1FA00-0HB0 | WinCC OA - APM Package SMS
6AV6355-1FA00-0HC1 | WinCC OA - AMS Package Entry SMS
6AV6355-1FA00-0HC2 | WinCC OA - AMS Package Small SMS
6AV6355-1FA00-0HC3 | WinCC OA - AMS Package Medium SMS
6AV6355-1FA00-0HC4 | WinCC OA - AMS Package Large SMS
6AV6355-1FA00-0HC5 | WinCC OA - AMS Package Unlimited SMS
6AV6355-1FA00-0HC6 | WinCC OA - AMS Package Extension SMS
6AV6355-1FA00-0CL0 | WinCC OA - 1 Dashboard SMS
6AV6355-1FA00-0CL1 | WinCC OA - 10 Dashboards SMS
6AV6355-1FA00-0CL2 | WinCC OA - 25 Dashboards SMS
6AV6355-1FA00-0CL3 | WinCC OA - 50 Dashboards SMS
6AV6355-1FA00-0CL4 | WinCC OA - 100 Dashboards SMS
6AV6355-1FA00-0CJ0 | WinCC OA - 1 Mobile Dashboard SMS
6AV6355-1FA00-0CJ1 | WinCC OA - 10 Mobile Dashboards SMS
6AV6355-1FA00-0CJ2 | WinCC OA - 25 Mobile Dashboards SMS
6AV6355-1FA00-0CJ3 | WinCC OA - 50 Mobile Dashboards SMS
6AV6355-1FA00-0CJ4 | WinCC OA - 100 Mobile Dashboards SMS
6AV6355-1FA00-0CM0 | WinCC OA - 1 Dashboard REDU SMS
6AV6355-1FA00-0CM1 | WinCC OA - 10 Dashboards REDU SMS
6AV6355-1FA00-0CM2 | WinCC OA - 25 Dashboards REDU SMS
6AV6355-1FA00-0CM3 | WinCC OA - 50 Dashboards REDU SMS
6AV6355-1FA00-0CM4 | WinCC OA - 100 Dashboards REDU SMS
6AV6355-1FA00-0CK0 | WinCC OA - 1 Mobile Dashboard REDU SMS
6AV6355-1FA00-0CK1 | WinCC OA - 10 Mobile Dashboards REDU SMS
6AV6355-1FA00-0CK2 | WinCC OA - 25 Mobile Dashboards REDU SMS
6AV6355-1FA00-0CK3 | WinCC OA - 50 Mobile Dashboards REDU SMS
6AV6355-1FA00-0CK4 | WinCC OA - 100 Mobile Dashboards REDU SMS
6AV6355-1FA00-0EA2 | WinCC OA - NGA Standard SMS
6AV6355-1FA00-0EA3 | WinCC OA - NGA Premium SMS
6AV6355-1FA00-0EA4 | WinCC OA - NGA Backend Connection SMS
6AV6355-1GA00-0AA0 | WinCC OA - Single Station POS
6AV6355-1GA00-0AA1 | WinCC OA - Para Single Station POS
6AV6355-1GA00-0BA0 | WinCC OA - Server Basic POS
6AV6355-1GA00-0BB0 | WinCC OA - 1k PowerTags POS
6AV6355-1GA00-0BB1 | WinCC OA - 3k PowerTags POS
6AV6355-1GA00-0BB2 | WinCC OA - 5k PowerTags POS
6AV6355-1GA00-0BB3 | WinCC OA - 10k PowerTags POS
6AV6355-1GA00-0BB4 | WinCC OA - 15k PowerTags POS
6AV6355-1GA00-0BB5 | WinCC OA - 25k PowerTags POS
6AV6355-1GA00-0BB6 | WinCC OA - 50k PowerTags POS
6AV6355-1GA00-0BB7 | WinCC OA - 75k PowerTags POS
6AV6355-1GA00-0BB8 | WinCC OA - 100k PowerTags POS
6AV6355-1GA00-0BC0 | WinCC OA - 150k PowerTags POS
6AV6355-1GA00-0BC1 | WinCC OA - 200k PowerTags POS
6AV6355-1GA00-0BC2 | WinCC OA - 250k PowerTags POS
6AV6355-1GA00-0BC3 | WinCC OA - Unlimited PowerTags POS
6AV6355-1GA00-0BD0 | WinCC OA – da 1k a 3k Powerpack POS
6AV6355-1GA00-0BD1 | WinCC OA – da 3k a 5k Powerpack POS
6AV6355-1GA00-0BD2 | WinCC OA – da 5k a 10k Powerpack POS
6AV6355-1GA00-0BD3 | WinCC OA – da 10k a 15k Powerpack POS
6AV6355-1GA00-0BD4 | WinCC OA – da 15k a 25k Powerpack POS
6AV6355-1GA00-0BD5 | WinCC OA – da 25k a 50k Powerpack POS
6AV6355-1GA00-0BD6 | WinCC OA – da 50k a 75k Powerpack POS
6AV6355-1GA00-0BD7 | WinCC OA – da 75k a 100k Powerpack POS
6AV6355-1GA00-0BE0 | WinCC OA – da 100k a 150k Powerpack POS
6AV6355-1GA00-0BE1 | WinCC OA – da 150k a 200k Powerpack POS
6AV6355-1GA00-0BE2 | WinCC OA – da 200k a 250k Powerpack POS
6AV6355-1GA00-0BE3 | WinCC OA – da 250k a Unlimited Powerpack POS
6AV6355-1GA00-0CA0 | WinCC OA - 1 Desktop UI POS
6AV6355-1GA00-0CA1 | WinCC OA - 10 Desktop UI POS
6AV6355-1GA00-0CA2 | WinCC OA - 25 Desktop UI POS
6AV6355-1GA00-0CA3 | WinCC OA - 50 Desktop UI POS
6AV6355-1GA00-0CA4 | WinCC OA - 100 Desktop UI POS
6AV6355-1GA00-0CB0 | WinCC OA - 1 Desktop UI REDU POS
6AV6355-1GA00-0CB1 | WinCC OA - 10 Desktop UI REDU POS
6AV6355-1GA00-0CB2 | WinCC OA - 25 Desktop UI REDU POS
6AV6355-1GA00-0CB3 | WinCC OA - 50 Desktop UI REDU POS
6AV6355-1GA00-0CB4 | WinCC OA - 100 Desktop UI REDU POS
6AV6355-1GA00-0CC0 | WinCC OA - 1 ULC UX POS
6AV6355-1GA00-0CC1 | WinCC OA - 10 ULC UX POS
6AV6355-1GA00-0CC2 | WinCC OA - 25 ULC UX POS
6AV6355-1GA00-0CC3 | WinCC OA - 50 ULC UX POS
6AV6355-1GA00-0CC4 | WinCC OA - 100 ULC UX POS
6AV6355-1GA00-0CD0 | WinCC OA - 1 ULC UX REDU POS
6AV6355-1GA00-0CD1 | WinCC OA - 10 ULC UX REDU POS
6AV6355-1GA00-0CD2 | WinCC OA - 25 ULC UX REDU POS
6AV6355-1GA00-0CD3 | WinCC OA - 50 ULC UX REDU POS
6AV6355-1GA00-0CD4 | WinCC OA - 100 ULC UX REDU POS
6AV6355-1GA00-0ET1 | WinCC OA - ULC UX Load Balancing POS
6AV6355-1GA00-0CE0 | WinCC OA - 1 Mobile POS
6AV6355-1GA00-0CE1 | WinCC OA - 10 Mobiles POS
6AV6355-1GA00-0CE2 | WinCC OA - 25 Mobiles POS
6AV6355-1GA00-0CE3 | WinCC OA - 50 Mobiles POS
6AV6355-1GA00-0CE4 | WinCC OA - 100 Mobiles POS
6AV6355-1GA00-0CF0 | WinCC OA - 1 Mobile REDU POS
6AV6355-1GA00-0CF1 | WinCC OA - 10 Mobiles REDU POS
6AV6355-1GA00-0CF2 | WinCC OA - 25 Mobiles REDU POS
6AV6355-1GA00-0CF3 | WinCC OA - 50 Mobiles REDU POS
6AV6355-1GA00-0CF4 | WinCC OA - 100 Mobiles REDU POS
6AV6355-1GA00-0CH0 | WinCC OA - Para Standard POS
6AV6355-1GA00-0CH1 | WinCC OA - Para Standard REDU POS
6AV6355-1GA00-0CH2 | WinCC OA - Para Remote POS
6AV6355-1GA00-0DA1 | WinCC OA - Driver S7 64 POS
6AV6355-1GA00-0DA2 | WinCC OA - Driver S7 512 POS
6AV6355-1GA00-0DA4 | WinCC OA - Driver PROFINet POS
6AV6355-1GA00-0DA5 | WinCC OA - Driver PROFISafe POS
6AV6355-1GA00-0DB0 | WinCC OA - Driver DNP3 100 POS
6AV6355-1GA00-0DB1 | WinCC OA - Driver DNP3 1000 POS
6AV6355-1GA00-0DB2 | WinCC OA - Driver DNP3 POS
6AV6355-1GA00-0DC0 | WinCC OA - Driver IEC 101 POS
6AV6355-1GA00-0DC1 | WinCC OA - Driver IEC 104 POS
6AV6355-1GA00-0DC2 | WinCC OA - Driver IEC 61850/61400 POS
6AV6355-1GA00-0DC3 | WinCC OA - Driver SAIA-S-Bus POS
6AV6355-1GA00-0DC4 | WinCC OA - Driver TLS POS
6AV6355-1GA00-0DC5 | WinCC OA - Driver SSI POS
6AV6355-1GA00-0DD0 | WinCC OA - Driver Modbus POS
6AV6355-1GA00-0DE0 | WinCC OA - Driver RK512 POS
6AV6355-1GA00-0DF0 | WinCC OA - Driver SINAUT 50 POS
6AV6355-1GA00-0DF1 | WinCC OA - Driver SINAUT 250 POS
6AV6355-1GA00-0DF2 | WinCC OA - Driver SINAUT POS
6AV6355-1GA00-0DG0 | WinCC OA - Driver SNMP POS
6AV6355-1GA00-0DH0 | WinCC OA - Driver Cerberus POS
6AV6355-1GA00-0DJ0 | WinCC OA - Driver EIP POS
6AV6355-1GA00-0DJ1 | WinCC OA - Driver Omron FINS POS
6AV6355-1GA00-0DK2 | WinCC OA - Driver MQTT Client POS
6AV6355-1GA00-0EA0 | WinCC OA - RDB POS
6AV6355-1GA00-0EA1 | WinCC OA - DB Logger POS
6AV6355-1GA00-0EB0 | WinCC OA - BACnet POS
6AV6355-1GA00-0DL1 | WinCC OA - BACnet Objects 200 POS
6AV6355-1GA00-0DL2 | WinCC OA - BACnet Objects 500 POS
6AV6355-1GA00-0DL3 | WinCC OA - BACnet Objects 1k POS
6AV6355-1GA00-0DL4 | WinCC OA - BACnet Objects 3k POS
6AV6355-1GA00-0DL5 | WinCC OA - BACnet Objects 5k POS
6AV6355-1GA00-0DL6 | WinCC OA - BACnet Objects 30k POS
6AV6355-1GA00-0DL7 | WinCC OA - BACnet Objects Unlimited POS
6AV6355-1GA00-0DM0 | WinCC OA - BACnetpack 200/500 POS
6AV6355-1GA00-0DM1 | WinCC OA - BACnetpack 500/1k POS
6AV6355-1GA00-0DM2 | WinCC OA - BACnetpack 1k/3k POS
6AV6355-1GA00-0DM3 | WinCC OA - BACnetpack 3k/5k POS
6AV6355-1GA00-0DM4 | WinCC OA - BACnetpack 5k/30k POS
6AV6355-1GA00-0DM5 | WinCC OA - BACnetpack 30k/Unlimited POS
6AV6355-1GA00-0EC0 | WinCC OA - CommCenter 1 POS
6AV6355-1GA00-0EC1 | WinCC OA - CommCenter 2 POS
6AV6355-1GA00-0EC2 | WinCC OA - CommCenter 3 POS
6AV6355-1GA00-0EC3 | WinCC OA - CommCenter 4 POS
6AV6355-1GA00-0ED2 | WinCC OA - Custom Comp POS
6AV6355-1GA00-0ED3 | WinCC OA - Custom Comp REDU POS
6AV6355-1GA00-0EE0 | WinCC OA - Dist System POS
6AV6355-1GA00-0EF0 | WinCC OA - Redundancy POS
6AV6355-1GA00-0EF1 | WinCC OA - DRS POS
6AV6355-1GA00-0EG0 | WinCC OA - Secure POS
6AV6355-1GA00-0EH5 | WinCC OA - Map POS
6AV6355-1GA00-0EJ0 | WinCC OA - Maintenance POS
6AV6355-1GA00-0EK0 | WinCC OA - OPC UA Server POS
6AV6355-1GA00-0EK1 | WinCC OA - MindSphere POS
6AV6355-1GA00-0EK2 | WinCC OA - Modbus Server POS
6AV6355-1GA00-0EK3 | WinCC OA - OPC Server POS
6AV6355-1GA00-0EL0 | WinCC OA - Recipe POS
6AV6355-1GA00-0EM0 | WinCC OA - Report Client 1 POS
6AV6355-1GA00-0EM1 | WinCC OA - Report Client 2 POS
6AV6355-1GA00-0EM2 | WinCC OA - Report Clients 5 POS
6AV6355-1GA00-0EM3 | WinCC OA - Report Clients 10 POS
6AV6355-1GA00-0EM5 | WinCC OA - Report 1 REDU POS
6AV6355-1GA00-0EM6 | WinCC OA - Report 2 REDU POS
6AV6355-1GA00-0EM7 | WinCC OA - Report 5 REDU POS
6AV6355-1GA00-0EM8 | WinCC OA - Report 10 REDU POS
6AV6355-1GA00-0EN0 | WinCC OA - Scheduler POS
6AV6355-1GA00-0EP0 | WinCC OA - SmartSCADA Toolbox POS
6AV6355-1GA00-0EP1 | WinCC OA - SmartSCADA KPI Ext. POS
6AV6355-1GA00-0EP2 | WinCC OA - SmartSCADA Analytics POS
6AV6355-1GA00-0EQ0 | WinCC OA - Video Light POS
6AV6355-1GA00-0EQ1 | WinCC OA - Video Basic POS
6AV6355-1GA00-0EQ2 | WinCC OA - Video Display POS
6AV6355-1GA00-0ER0 | WinCC OA - Video 1 POS
6AV6355-1GA00-0ER1 | WinCC OA - Video 10 POS
6AV6355-1GA00-0ER2 | WinCC OA - Video 25 POS
6AV6355-1GA00-0ER3 | WinCC OA - Video 50 POS
6AV6355-1GA00-0ER4 | WinCC OA - Video 100 POS
6AV6355-1GA00-0ER5 | WinCC OA - Video 250 POS
6AV6355-1GA00-0ER6 | WinCC OA - Video 500 POS
6AV6355-1GA00-0ES0 | WinCC OA - Video 1 REDU POS
6AV6355-1GA00-0ES1 | WinCC OA - Video 10 REDU POS
6AV6355-1GA00-0ES2 | WinCC OA - Video 25 REDU POS
6AV6355-1GA00-0ES3 | WinCC OA - Video 50 REDU POS
6AV6355-1GA00-0ES4 | WinCC OA - Video 100 REDU POS
6AV6355-1GA00-0ES5 | WinCC OA - Video 250 REDU POS
6AV6355-1GA00-0ES6 | WinCC OA - Video 500 REDU POS
6AV6355-1GA00-0ET0 | WinCC OA - Webserver POS
6AV6355-1GA00-0HA0 | WinCC OA - Topology Package POS
6AV6355-1GA00-0HB0 | WinCC OA - APM Package POS
6AV6355-1GA00-0HC1 | WinCC OA - AMS Package Entry POS
6AV6355-1GA00-0HC2 | WinCC OA - AMS Package Small POS
6AV6355-1GA00-0HC3 | WinCC OA - AMS Package Medium POS
6AV6355-1GA00-0HC4 | WinCC OA - AMS Package Large POS
6AV6355-1GA00-0HC5 | WinCC OA - AMS Package Unlimited POS
6AV6355-1GA00-0HC6 | WinCC OA - AMS Package Extension POS
6AV6355-1GA00-0CL0 | WinCC OA - 1 Dashboard POS
6AV6355-1GA00-0CL1 | WinCC OA - 10 Dashboards POS
6AV6355-1GA00-0CL2 | WinCC OA - 25 Dashboards POS
6AV6355-1GA00-0CL3 | WinCC OA - 50 Dashboards POS
6AV6355-1GA00-0CL4 | WinCC OA - 100 Dashboards POS
6AV6355-1GA00-0CJ0 | WinCC OA - 1 Mobile Dashboard POS
6AV6355-1GA00-0CJ1 | WinCC OA - 10 Mobile Dashboards POS
6AV6355-1GA00-0CJ2 | WinCC OA - 25 Mobile Dashboards POS
6AV6355-1GA00-0CJ3 | WinCC OA - 50 Mobile Dashboards POS
6AV6355-1GA00-0CJ4 | WinCC OA - 100 Mobile Dashboards POS
6AV6355-1GA00-0CM0 | WinCC OA - 1 Dashboard REDU POS
6AV6355-1GA00-0CM1 | WinCC OA - 10 Dashboards REDU POS
6AV6355-1GA00-0CM2 | WinCC OA - 25 Dashboards REDU POS
6AV6355-1GA00-0CM3 | WinCC OA - 50 Dashboards REDU POS
6AV6355-1GA00-0CM4 | WinCC OA - 100 Dashboards REDU POS
6AV6355-1GA00-0CK0 | WinCC OA - 1 Mobile Dashboard REDU POS
6AV6355-1GA00-0CK1 | WinCC OA - 10 Mobile Dashboards REDU POS
6AV6355-1GA00-0CK2 | WinCC OA - 25 Mobile Dashboards REDU POS
6AV6355-1GA00-0CK3 | WinCC OA - 50 Mobile Dashboards REDU POS
6AV6355-1GA00-0CK4 | WinCC OA - 100 Mobile Dashboards REDU POS
6AV6355-1GA00-0EA2 | WinCC OA - NGA Standard POS
6AV6355-1GA00-0EA3 | WinCC OA - NGA Premium POS
6AV6355-1GA00-0EA4 | WinCC OA - NGA Backend Connection POS

## Servizi
MLFB | Prodotto
6AV6355-2AA00-0BC0 | WinCC OA - Hotline 5h
6AV6355-2AA00-0BC1 | WinCC OA - Hotline 10h
6AV6355-2AA00-0BC2 | WinCC OA - Hotline 15h
6AV6355-2AA00-0BC3 | WinCC OA - Hotline 20h
6AV6355-2AA00-0BC4 | WinCC OA - License Exchange
6AV6355-3AA00-0BA0 | WinCC OA - Consulting 1h
6AV6355-3AA00-0BA1 | WinCC OA - Consulting 8h
6AV6355-3AA00-0BA2 | WinCC OA - Consulting 25h
6AV6355-3AA00-0BA3 | WinCC OA - Consulting 50h
6AV6355-3AA00-0BA4 | WinCC OA - Consulting 100h
6AV6355-3BA00-0BA0 | Certified WinCC OA Basic Training
6AV6355-3BA00-0BB0 | Certified WinCC OA Engineer Workshop
6AV6355-3BA00-0BC0 | Certified WinCC OA Consultant
6AV6355-3BA00-0BC1 | Certified WinCC OA Developer Workshop
6AV6355-3BA00-0BC2 | Certified WinCC OA Extended Developer WS
6AV6355-3BA00-0BC3 | Certified WinCC OA Security Workshop
6AV6355-3BA00-0BC4 | Certified WinCC OA Safety Engineer WS
6AV6355-3BA00-0BD0 | WinCC OA – Update Training
6AV6355-3BA00-0BE0 | WinCC OA – Object-oriented programming
6AV6355-3BA00-0BE1 | WinCC OA – Video Training
6AV6355-3BA00-0BE2 | WinCC OA – Video Expert Training
6AV6355-3BA00-0BE3 | WinCC OA – SmartSCADA Training
6AV6355-3BA00-0BE4 | WinCC OA – BACnet Workshop
6AV6355-3BA00-0BE5 | WinCC OA – AMS Workshop
6AV6355-3BA00-0BK0 | WinCC OA – IOT Suite Admin Training
6AV6355-3CA00-0BB0 | WinCC OA - Solution 1h
6AV6355-3DA00-0BF0 | WinCC OA - TC up to 100 km
6AV6355-3DA00-0BF1 | WinCC OA - TC up to 300 km
6AV6355-3DA00-0BF2 | WinCC OA - TC up to 500 km
6AV6355-3DA00-0BF3 | WinCC OA - TC Flight EU
6AV6355-3DA00-0BG0 | WinCC OA - TC Travel time
6AV6355-3DA00-0BG1 | WinCC OA - TC Rental car
6AV6355-3DA00-0BG2 | WinCC OA - TC Accomodation
6AV6355-3DA00-0BG3 | WinCC OA - TC Allowance
6AV6355-4AA00-0AA0 | WinCC OA - ORACLE SE2 ASFU
6AV6355-4AA00-0AA1 | WinCC OA - ORACLE SE2 ASFU SUS
6AV6355-4AA00-0AA2 | WinCC OA - ORACLE SE2 FU
6AV6355-4AA00-0AA3 | WinCC OA - ORACLE SE2 FU SUS
6AV6355-4BA00-0AB0 | WinCC OA - Dongle Standard
6AV6355-4BA00-0AB1 | WinCC OA - Dongle Micro
6AV6355-4BA00-0AB2 | WinCC OA - Dongle WIBU
6AV6355-4BA47-7AB3 | WinCC OA - On disc
6AV6355-3BA00-0BT2 | WinCC OA - Participant fee for basic training
6AV6355-4BA00-0AB5 | WinCC OA - Express shipment