## Ingegneria
SIMATIC WinCC Unified V20 Engineering
|  | Download | Package
SIMATIC WinCC Unified Engineering System Base Packages |  | MLFB | MLFB | Note
New! | WinCC Unified Basic ES V20 | 6AV2151-0XA02-4LA5 | 6AV2151-0XA02-4AA5
| WinCC Unified Comfort ES V20 | 6AV2151-0XB02-4LA5 | 6AV2151-0XB02-4AA5
| WinCC Unified PC (10k) ES V20 | 6AV2153-2FB02-4LA5 | 6AV2153-2FB02-4AA5
| WinCC Unified PC (100k) ES V20 | 6AV2153-2GB02-4LA5 | 6AV2153-2GB02-4AA5
| WinCC Unified PC (max.) ES V20 | 6AV2153-0XB02-4LA5 | 6AV2153-0XB02-4AA5
SIMATIC WinCC Unified Engineering Trial License |  | MLFB | MLFB | Note
| WinCC Unified PC (1k) ES Demo | Download in Customer Support Portal | n.a.
SIMATIC WinCC Unified Engineering System Powerpacks |  | MLFB | MLFB | Note
New! | WinCC Unified Comfort ES Powerpack (V20) | 6AV2151-0XB20-0LB5 | 6AV2151-0XB20-0AB5 | Basic ➡ Comfort
| WinCC Unified PC (10k) ES Powerpack (V16..V20) | 6AV2153-2FB20-0LB5 | 6AV2153-2FB20-0AB5 | Comfort ➡ RT PC 10k
| WinCC Unified PC (100k) ES Powerpack (V16..V20) | 6AV2153-2GB20-0LB5 | 6AV2153-2GB20-0AB5 | RT PC 10k ➡ RT PC 100k
| WinCC Unified PC (max.) ES Powerpack (V16..V20) | 6AV2153-0XB20-0LB5 | 6AV2153-0XB20-0AB5 | RT PC 100k ➡ RT PC max
SIMATIC WinCC Unified Engineering Upgrades V16..V18 ➡ V19 |  | MLFB | MLFB | Note
New! | WinCC Unified Basic ES Upgrade | 6AV2151-0XA32-4LA5 | 6AV2151-0XA32-4AA5 | V19 ➡ V20
| WinCC Unified Comfort ES Upgrade | 6AV2151-0XB32-4LA5 | 6AV2151-0XB32-4AA5 | V16..V19 ➡ V20
| WinCC Unified PC (10k) ES Upgrade | 6AV2153-2FB32-4LA5 | 6AV2153-2FB32-4AA5 | V16..V19 ➡ V20
| WinCC Unified PC (100k) ES Upgrade | 6AV2153-2GB32-4LA5 | 6AV2153-2GB32-4AA5 | V16..V19 ➡ V20
| WinCC Unified PC (max.) ES Upgrade | 6AV2153-0XB32-4LA5 | 6AV2153-0XB32-4AA5 | V16..V19 ➡ V20
SIMATIC WinCC Legacy Conversion License |  | MLFB | MLFB | Note
| WinCC Unified Adv/Prof.512..4096 ➡ PC 100k | 6AV2153-2GB60-0LB5 | 6AV2153-2GB60-0AB5 | Non applicabile a licenze combo
| WinCC Prof.Max ➡ PC max | 6AV2153-0XB60-0LB5 | 6AV2153-0XB60-0AB5 | Non applicabile a licenze combo
SIMATIC WinCC Unified Software Update Service |  | MLFB | MLFB | Note
| WinCC Unified Comfort | 6AV2151-0XB00-0LY5 | n.a.
| WinCC Unified PC (10k) ES | 6AV2153-2FB00-0LY5 | n.a.
| WinCC Unified PC (100k) ES | 6AV2153-2GB00-0LY5 | n.a.
| WinCC Unified PC (max.) ES | 6AV2153-0XB00-0LY5 | n.a.

## Opzioni ingegneria
SIMATIC WinCC Unified V20 Engineering Options
|  | Download | Package
SIMATIC Visualization Architect (SIVArc) |  | MLFB | MLFB | Note
| SIMATIC Visualization Architect V20 | 6AV2107-0PX02-4AH5 | 6AV2107-0PX02-4AA5
| SIMATIC Visualization Architect V20 Rental | 6AV2107-0PX02-4AH6 | 6AV2107-0PX02-4AA6
| SIMATIC Visualization Architect V20 Trial | Download in Customer Support Portal | n.a.
| SIMATIC Visualization Architect, Upgrade | 6AV2107-3PX02-4AH5 | 6AV2107-3PX02-4AA5 | V19 ➡ V20
| SIMATIC Visualization Architect, SUS | 6AV2107-0PX00-0AY0 | 6AV2107-0PX00-0AL0 | Indipendente dalla versione
SIMATIC Energy Suite |  | MLFB | MLFB | Note
| SIMATIC Energy Suite V20 Engineering | 6AV2108-0AA02-4AH5 | 6AV2108-0AA02-4AA5 | Include 10 Energy Objects (2x5 EnO)
| SIMATIC Energy Suite V20 Engineering Trial | Download in Customer Support Portal | n.a.
| SIMATIC Energy Suite V20 Engineering Upgrade | 6AV2108-3AA02-4AK5 | 6AV2108-3AA02-4AE5 | V14..V19 ➡ V20
| SIMATIC Energy Suite S7-1500 - 5 Energy Objects (1 x 5 EnO) | 6AV2108-0CF00-0BH0 | 6AV2108-0CF00-0BB0 | Indipendente dalla versione
| SIMATIC Energy Suite S7-1500 - 10 Energy Objects (1 x 10 EnO) | 6AV2108-0CH00-0BH0 | 6AV2108-0CH00-0BB0 | Indipendente dalla versione
| SIMATIC Energy Suite S7-1500 - 10 Energy Objects (2 x 5 EnO) | 6AV2108-0DF00-0BH0 | 6AV2108-0DF00-0BB0 | Indipendente dalla versione
| SIMATIC Energy Suite S7-1500 - 50 Energy Objects (5 x 10 EnO) | 6AV2108-0FH00-0BH0 | 6AV2108-0FH00-0BB0 | Indipendente dalla versione
| SIMATIC Energy Suite S7-1500 - 100 Energy Objects (10 x 10 EnO) | 6AV2108-0HH00-0BH0 | 6AV2108-0HH00-0BB0 | Indipendente dalla versione
SIMATIC Energy Suite SUS |  | MLFB | MLFB | Note
| SIMATIC Energy Suite Engineering SUS | 6AV2108-0AA00-0AY0 | 6AV2108-0AA00-0AL0

## Runtime
SIMATIC WinCC Unified V20 Runtime
|  | Download | Package
SIMATIC WinCC Unified Runtime System Base Packages |  | MLFB | MLFB | Note
| WinCC Unified PC (150) RT | 6AV2154-3DB02-4LA0 | 6AV2154-3DB02-4AA0 | Include 1 webclient operate locale + 1 webclient operate remoto + 1 webclient monitor remoto
| WinCC Unified PC (500) RT | 6AV2154-1EB02-4LA0 | 6AV2154-1EB02-4AA0 | Include 1 webclient operate locale + 1 webclient operate remoto + 1 webclient monitor remoto
| WinCC Unified PC (1k) RT | 6AV2154-2EB02-4LA0 | 6AV2154-2EB02-4AA0 | Include 1 webclient operate locale + 1 webclient operate remoto + 1 webclient monitor remoto
| WinCC Unified PC (2,5k) RT | 6AV2154-2MB02-4LA0 | 6AV2154-2MB02-4AA0 | Include 1 webclient operate locale + 1 webclient operate remoto + 1 webclient monitor remoto
| WinCC Unified PC (5k) RT | 6AV2154-1FB02-4LA0 | 6AV2154-1FB02-4AA0 | Include 1 webclient operate locale + 1 webclient operate remoto + 1 webclient monitor remoto
| WinCC Unified PC (10k) RT | 6AV2154-2FB02-4LA0 | 6AV2154-2FB02-4AA0 | Include 1 webclient operate locale + 1 webclient operate remoto + 1 webclient monitor remoto
| WinCC Unified PC (50k) RT | 6AV2154-1GB02-4LA0 | 6AV2154-1GB02-4AA0 | Include 1 webclient operate locale + 1 webclient operate remoto + 1 webclient monitor remoto
| WinCC Unified PC (100k) RT | 6AV2154-2GB02-4LA0 | 6AV2154-2GB02-4AA0 | Include 1 webclient operate locale + 1 webclient operate remoto + 1 webclient monitor remoto
| WinCC Unified PC (max) RT | 6AV2154-0XB02-4LA0 | 6AV2154-0XB02-4AA0 | Include 1 webclient operate locale + 1 webclient operate remoto + 1 webclient monitor remoto
SIMATIC WinCC Unified Runtime System Base Packages (ASIA) |  | MLFB | MLFB | Note
| WinCC Unified PC (150) RT ASIA | n.a. | 6AV2154-3DB02-4BA0 | Include 1 webclient operate locale + 1 webclient operate remoto + 1 webclient monitor remoto
| WinCC Unified PC (500) RT ASIA | n.a. | 6AV2154-1EB02-4BA0 | Include 1 webclient operate locale + 1 webclient operate remoto + 1 webclient monitor remoto
| WinCC Unified PC (1k) RT ASIA | n.a. | 6AV2154-2EB02-4BA0 | Include 1 webclient operate locale + 1 webclient operate remoto + 1 webclient monitor remoto
| WinCC Unified PC (2.5k) RT ASIA | n.a. | 6AV2154-2MB02-4BA0 | Include 1 webclient operate locale + 1 webclient operate remoto + 1 webclient monitor remoto
| WinCC Unified PC (5k) RT ASIA | n.a. | 6AV2154-1FB02-4BA0 | Include 1 webclient operate locale + 1 webclient operate remoto + 1 webclient monitor remoto
| WinCC Unified PC (10k) RT ASIA | n.a. | 6AV2154-2FB02-4BA0 | Include 1 webclient operate locale + 1 webclient operate remoto + 1 webclient monitor remoto
| WinCC Unified PC (50k) RT ASIA | n.a. | 6AV2154-1GB02-4BA0 | Include 1 webclient operate locale + 1 webclient operate remoto + 1 webclient monitor remoto
| WinCC Unified PC (100k) RT ASIA | n.a. | 6AV2154-2GB02-4BA0 | Include 1 webclient operate locale + 1 webclient operate remoto + 1 webclient monitor remoto
| WinCC Unified PC (max) RT ASIA | n.a. | 6AV2154-0XB02-4BA0 | Include 1 webclient operate locale + 1 webclient operate remoto + 1 webclient monitor remoto
SIMATIC WinCC Unified Runtime System Powerpacks |  | MLFB | MLFB | Note
| WinCC Unified PC (500) RT Powerpack (V16..V20) | 6AV2154-1EB20-0LB0 | 6AV2154-1EB20-0AB0 | 150 ➡ 500, indipendente dalla versione
| WinCC Unified PC (1k) RT Powerpack (V16..V20 | 6AV2154-2EB20-0LB0 | 6AV2154-2EB20-0AB0 | 500 ➡ 1k, indipendente dalla versione
| WinCC Unified PC (2,5k) RT Powerpack (V16..V20) | 6AV2154-2MB20-0LB0 | 6AV2154-2MB20-0AB0 | 1k ➡ 2,5k, indipendente dalla versione
| WinCC Unified PC (5k) RT Powerpack (V16..V20) | 6AV2154-1FB20-0LB0 | 6AV2154-1FB20-0AB0 | 2, 5k ➡ 5k, indipendente dalla versione
| WinCC Unified PC (10k) RT Powerpack (V16..V20) | 6AV2154-2FB20-0LB0 | 6AV2154-2FB20-0AB0 | 5k ➡ 10k, indipendente dalla versione
| WinCC Unified PC (50k) RT Powerpack (V16..V20) | 6AV2154-1GB20-0LB0 | 6AV2154-1GB20-0AB0 | 10k ➡ 50k, indipendente dalla versione
| WinCC Unified PC (100k) RT Powerpack (V16..V20) | 6AV2154-2GB20-0LB0 | 6AV2154-2GB20-0AB0 | 50k ➡ 100k, indipendente dalla versione
| WinCC Unified PC (max) RT Powerpack (V16..V20) | 6AV2154-0XB20-0LB0 | 6AV2154-0XB20-0AB0 | 100k ➡ max, indipendente dalla versione
SIMATIC WinCC RT Upgrades (V18..V19 ➡ V20) |  | MLFB | MLFB | Note
| WinCC Unified PC (150) RT | 6AV2154-3DB32-4LA0 | 6AV2154-3DB32-4AA0 | Non aggiorna la V16 e la V17! Comprende Parameter Control, Report Execution, Collaboration, Audit Basis
| WinCC Unified PC (500) RT | 6AV2154-1EB32-4LA0 | 6AV2154-1EB32-4AB0 | Non aggiorna la V16 e la V17! Comprende Parameter Control, Report Execution, Collaboration, Audit Basis
| WinCC Unified PC (1k) RT | 6AV2154-2EB32-4LA0 | 6AV2154-2EB32-4AB0 | Non aggiorna la V16 e la V17! Comprende Parameter Control, Report Execution, Collaboration, Audit Basis
| WinCC Unified PC (2,5k) RT | 6AV2154-2MB32-4LA0 | 6AV2154-2MB32-4AB0 | Non aggiorna la V16 e la V17! Comprende Parameter Control, Report Execution, Collaboration, Audit Basis
| WinCC Unified PC (5k) RT | 6AV2154-1FB32-4LA0 | 6AV2154-1FB32-4AA0 | Non aggiorna la V16 e la V17! Comprende Parameter Control, Report Execution, Collaboration, Audit Basis
| WinCC Unified PC (10k) RT | 6AV2154-2FB32-4LA0 | 6AV2154-2FB32-4AA0 | Non aggiorna la V16 e la V17! Comprende Parameter Control, Report Execution, Collaboration, Audit Basis
| WinCC Unified PC (50k) RT | 6AV2154-1GB32-4LA0 | 6AV2154-1GB32-4AA0 | Non aggiorna la V16 e la V17! Comprende Parameter Control, Report Execution, Collaboration, Audit Basis
| WinCC Unified PC (100k) RT | 6AV2154-2GB32-4LA0 | 6AV2154-2GB32-4AA0 | Non aggiorna la V16 e la V17! Comprende Parameter Control, Report Execution, Collaboration, Audit Basis
| WinCC Unified PC (max) RT | 6AV2154-0XB32-4LA0 | 6AV2154-0XB32-4AA0 | Non aggiorna la V16 e la V17! Comprende Parameter Control, Report Execution, Collaboration, Audit Basis
SIMATIC WinCC RT SUS |  | MLFB | MLFB | Note
| WinCC Unified PC RT small SUS | 6AV2154-2FB00-0LY0 | n.a. | Per RT fino a 10k. Comprende Parameter Control, Report Execution, Collaboration, Audit Basis
| WinCC Unified PC RT medium SUS | 6AV2154-2GB00-0LY0 | n.a. | Per RT fino a 100k. Comprende Parameter Control, Report Execution, Collaboration, Audit Basis
| WinCC Unified PC RT max SUS | 6AV2154-0XB00-0LY0 | n.a. | Per RT fino a max. Comprende Parameter Control, Report Execution, Collaboration, Audit Basis

## Opzioni RT
SIMATIC WinCC Unified V20 Runtime Options
|  | Download | Package
WinCC Unified Clients |  | MLFB | MLFB | Note
| WinCC Unified Client Operate Panel (1) | 6AV2151-1JW00-0LB0 | 6AV2151-1JW00-0AB0 | Valida solo per pannelli Unified
| WinCC Unified Client Operate Panel (5x1) | 6AV2157-5JV00-0LB0 | 6AV2157-5JV00-0AB0 | 5 licenze separate, valide solo per pannelli Unified
| WinCC Unified Client Operate (1) | 6AV2157-1JW00-0LB0 | 6AV2157-1JW00-0AB0 | Indipendente dalla versione
| WinCC Unified Client Operate (3) | 6AV2157-3JW00-0LB0 | 6AV2157-3JW00-0AB0 | Indipendente dalla versione
| WinCC Unified Client Operate (10) | 6AV2157-2CW00-0LB0 | 6AV2157-2CW00-0AB0 | Indipendente dalla versione
| WinCC Unified Client Operate (max pro RT server) | 6AV2157-0XW00-0LB0 | 6AV2157-0XW00-0AB0 | Indipendente dalla versione
| WinCC Unified Client Operate (5x1) | 6AV2157-5JW00-0LB0 | 6AV2157-5JW00-0AB0 | 5 licenze separate, indipendente dalla versione
| WinCC Unified Client Monitor Panel (1) | 6AV2151-1JM00-0LB0 | 6AV2151-1JM00-0AB0 | Valida solo per pannelli Unified
| WinCC Unified Client Monitor (1) | 6AV2157-1JM00-0LB0 | 6AV2157-1JM00-0AB0 | Indipendente dalla versione
| WinCC Unified Client Monitor (3) | 6AV2157-3JM00-0LB0 | 6AV2157-3JM00-0AB0 | Indipendente dalla versione
| WinCC Unified Client Monitor (10) | 6AV2157-2CM00-0LB0 | 6AV2157-2CM00-0AB0 | Indipendente dalla versione
| WinCC Unified Client Monitor (max pro RT server) | 6AV2157-0XM00-0LB0 | 6AV2157-0XM00-0AB0 | Indipendente dalla versione
WinCC Unified Database Storage V19 |  | MLFB | MLFB | Note
| WinCC Unified Database Storage V20 | 6AV2154-0BS02-4LA0 | 6AV2154-0BS02-4AA0
| WinCC Unified Database Storage, Upgrade V18..V19 ➡ V20 | 6AV2154-1BS32-4LA0 | 6AV2154-1BS32-4AA0
WinCC Unified Redundancy |  | MLFB | MLFB | Note
New! | WinCC Unified Redundancy V20 | 6AV2157-0BR02-4LB0 | n.a.
WinCC Unified Logging |  | MLFB | MLFB | Note
| WinCC Unified Logging Tags (100) | 6AV2157-2DA00-0LB0 | 6AV2157-2DA00-0AB0 | Indipendente dalla versione
| WinCC Unified Logging Tags (500) | 6AV2157-1EA00-0LB0 | 6AV2157-1EA00-0AB0 | Indipendente dalla versione
| WinCC Unified Logging Tags (1000) | 6AV2157-2EA00-0LB0 | 6AV2157-2EA00-0AB0 | Indipendente dalla versione
| WinCC Unified Logging Tags (5000) | 6AV2157-1FA00-0LB0 | 6AV2157-1FA00-0AB0 | Indipendente dalla versione
| WinCC Unified Logging Tags (10000) | 6AV2157-2FA00-0LB0 | 6AV2157-2FA00-0AB0 | Indipendente dalla versione
| WinCC Unified Logging Tags (30000) | 6AV2157-6FA00-0LB0 | 6AV2157-6FA00-0AB0 | Indipendente dalla versione
WinCC Unified Parameter Control |  | MLFB | MLFB | Note
| WinCC Unified Parameter Control (Unified PC) V20 | 6AV2154-0BP02-4LB0 | 6AV2154-0BP02-4AB0
WinCC Unified Reporting |  | MLFB | MLFB | Note
| WinCC Unified Report Execution V20 | 6AV2157-0BQ02-4LB0 | 6AV2157-0BQ02-4AB0
SIMATIC ProDiag |  | MLFB | MLFB | Note
| WinCC Unified ProDiag V20 | 6AV2157-0BD02-4LB0 | 6AV2157-0BD02-4AB0
WinCC Unified Runtime Collaboration |  | MLFB | MLFB | Note
| WinCC Unified Collaboration V20 | 6AV2154-0BR02-4LB0 | 6AV2154-0BR02-4AB0
| WinCC Unified Collaboration (3x1) V20 | 6AV2154-3JR02-4LB0 | 6AV2154-3JR02-4AB0 | 3 licenze separate
| WinCC Unified Collaboration (10x1) V20 | 6AV2154-2CR02-4LB0 | n.a. | 10 licenze separate
WinCC Unified Audit |  | MLFB | MLFB | Note
| WinCC Unified Audit Basis V20 | 6AV2157-0BL02-4LB0 | 6AV2157-0BL02-4AB0
| WinCC Unified Audit Enhanced V20 | 6AV2157-1BL02-4LB0 | 6AV2157-1BL02-4AB0
| WinCC Unified Audit Powerpack V20 | 6AV2157-1BL20-0LB0 | 6AV2157-1BL20-0AB0 | Basis ➡ Enhanced
WinCC Unified Connectivity |  | MLFB | MLFB | Note
| WinCC Unified Connectivity GraphQL Logged Data V20 | 6AV2157-1GK02-4LB0 | n.a. | Abilita accesso archivi via GraphQL
WinCC Unified DataHub |  | MLFB | MLFB | Note
| SIMATIC WinCC Unified Data Hub Server | 6AV2154-0BB02-4LA0 | n.a. | Special Sales Release
| SIMATIC WinCC Unified Data Hub Client Small (1) | 6AV2154-1JA00-0LB0 | n.a. | Special Sales Release
| SIMATIC WinCC Unified Data Hub Client Small (3x1) | 6AV2154-3JA00-0LB0 | n.a. | Special Sales Release
| SIMATIC WinCC Unified Data Hub Client Small (10x1) | 6AV2154-2CA00-0LB0 | n.a. | Special Sales Release
| SIMATIC WinCC Unified Data Hub Client (1) | 6AV2154-1JC00-0LB0 | n.a. | Special Sales Release
| SIMATIC WinCC Unified Data Hub Client (3x1) | 6AV2154-3JC00-0LB0 | n.a. | Special Sales Release
| SIMATIC WinCC Unified Data Hub Client (10x1) | 6AV2154-2CC00-0LB0 | n.a. | Special Sales Release
| SIMATIC WinCC Unified Audit Trail Data Hub (1) | 6AV2154-1JD00-0LB0 | n.a. | Special Sales Release
| SIMATIC WinCC Unified Audit Trail Data Hub (3x1) | 6AV2154-3JD00-0LB0 | n.a. | Special Sales Release
| SIMATIC WinCC Unified Audit Trail Data Hub (10x1) | 6AV2154-2CD00-0LB0 | n.a. | Special Sales Release
WinCC Unified MTP Integrator |  | MLFB | MLFB | Note
| Promotion SIMATIC MTP Integrator - 1 x PEA | 6AV2156-1TM30-0LA0 | n.a.
| Promotion SIMATIC MTP Integrator - 10 x PEA | 6AV2156-4TM30-0LA0 | n.a.
| SIMATIC MTP Integrator - 1 x PEA | 6AV2156-1TM00-0LA0 | n.a.
| SIMATIC MTP Integrator - 10 x PEA | 6AV2156-4TM00-0LA0 | n.a.

## RT Starter Packages
SIMATIC WinCC Unified V20 Starter Packages
|  | Download | Package
Starter Packages |  | MLFB | MLFB | Note
| WinCC Unified PC RT start (1k) DL | 6AV2155-2ES02-4LA0 | n.a. | 6AV2154-2EB02-3LA0 (PC 1K) 6AV2157-2DA00-0LB0 (100 LoggingTags) 6AV2154-0BP02-3LB0 (Ricette) 6AV2157-0BQ02-3LB0 (Report Execution)
| WinCC Unified PC RT small (10k) DL | 6AV2155-2FS02-4LA0 | n.a. | 6AV2154-2FB02-3LA0 (PC 10K) 6AV2157-2EA00-0LB0 (1000LoggingTags) 6AV2154-0BP02-3LB0 (Ricette) 6AV2157-0BQ02-3LB0 (Report Execution) 6AV2157-0BL02-3LB0 (Audit Basis)
| WinCC Unified PC RT medium (100k) DL | 6AV2155-2GS02-4LA0 | n.a. | 6AV2154-2GB02-3LA0 (PC 100K) 2x 6AV2157-1JW00-0LB0 (1 Client Operate) 2x 6AV2157-2EA00-0LB0 (1000 LoggingTags) 6AV2154-0BS02-3LA0 (SQL LoggingDB) 6AV2154-0BP02-3LB0 (Ricette) 6AV2157-0BQ02-3LB0 (Report Execution) 6AV2157-0BL02-3LB0 (Audit Basis)
| WinCC Unified PC RT max (unlimited) DL | 6AV2155-0XS02-4LA0 | n.a. | 6AV2154-0XB02-3LA0 (PC Max) 6AV2157-0XW00-0LB0 (Operate Client Max) 6AV2157-1FA00-0LB0 (5000LoggingTags) 6AV2154-0BS02-3LA0 (SQL LoggingDB) 6AV2154-0BP02-3LB0 (Ricette) 6AV2157-0BQ02-3LB0 (Report Execution) 6AV2157-0BL02-3LB0 (Audit Basis)
Starter Packages con ridondanza |  | MLFB | MLFB | Note
New! | WinCC Unified PC RT small (10k) DL redundant | 6AV2155-2FR02-4LA0 | n.a. | 2x 6AV2154-2FB02-4LA0 (PC 10K) 2x 2x 6AV2157-1JW00-0LB0 (1 Operate Client) 2x 2x 6AV2157-2EA00-0LB0 (1000 LoggingTags) 2x 6AV2154-0BS02-4LA0 (SQL LoggingDB) 2x 6AV2154-0BP02-4LB0 (Ricette) 2x 6AV2157-0BQ02-4LB0 (Report Execution) 2x 6AV2157-0BL02-4LB0 (Audit Basis) 1x 6AV2157-0BR02-4LB0 (Ridondanza)
New! | WinCC Unified PC RT medium (100k) DL redundant | 6AV2155-2GR02-4LA0 | n.a. | 2x 6AV2154-2GB02-4LA0 (PC 100K) 2x 2x 6AV2157-1JW00-0LB0 (1 Operate Client) 2x 2x 6AV2157-2EA00-0LB0 (1000 LoggingTags) 2x 6AV2154-0BS02-4LA0 (SQL LoggingDB) 2x 6AV2154-0BP02-4LB0 (Ricette) 2x 6AV2157-0BQ02-4LB0 (Report Execution) 2x 6AV2157-0BL02-4LB0 (Audit Basis) 1x 6AV2157-0BR02-4LB0 (Ridondanza)
New! | WinCC Unified PC RT max DL redundant | 6AV2155-0XR02-4LA0 | n.a. | 2x 6AV2154-0XB02-4LA0 (PC max) 2x 6AV2157-0XW00-0LB0 (Max Operate Client) 2x 6AV2157-1FA00-0LB0 (5000 LoggingTags) 2x 6AV2154-0BS02-4LA0 (SQL LoggingDB) 2x 6AV2154-0BP02-4LB0 (Ricette) 2x 6AV2157-0BQ02-4LB0 (Report Execution) 2x 6AV2157-0BL02-4LB0 (Audit Basis) 1x Ridondanza
Unified Data Hub |  | MLFB | MLFB | Note
| SIMATIC WinCC Unified Data Hub Server Package | 6AV2155-3DD02-4LA0 | n.a. | 1x 6AV2154-0BB02-4xA0 (UDH Server Single License) 1x 6AV2154-3DB02-4xA0 (Unified PC (150) RT V20) 1x 6AV2154-0BS02-4xA0 (Unified Database Storage V20) 1x 6AV2154-1JA00-0xB0 (Data Hub Client Small (1) 1x 6AV2154-1JC00-0xB0 (Data Hub Client (1) Special Sales Release

## IPC Packages
SIMATIC WinCC Unified V20 IPC Packages
|  | Download | Package
SIMATIC WinCC Unified Runtime IPC Packages |  | MLFB | MLFB | Note
| WinCC Unified PC RT (150) Package | n.a. | 6AV2155-3DB02-4AA0 | Include Parameter Control + 500 Logging Tags
| WinCC Unified PC RT (500) Package | n.a. | 6AV2155-1EB02-4AA0 | Include Parameter Control + 500 Logging Tags
| WinCC Unified PC RT (1k) Package | n.a. | 6AV2155-2EB02-4AA0 | Include Parameter Control + 500 Logging Tags
| WinCC Unified PC RT (2.5k) Package | n.a. | 6AV2155-2MB02-4AA0 | Include Parameter Control + 500 Logging Tags
| WinCC Unified PC RT (5k) Package | n.a. | 6AV2155-1FB02-4AA0 | Include Parameter Control + 1000 Logging Tags
| WinCC Unified PC RT (10k) Package | n.a. | 6AV2155-2FB02-4AA0 | Include Parameter Control + 1000 Logging Tags
| WinCC Unified PC RT (50k) Package | n.a. | 6AV2155-1GB02-4AA0 | Include Parameter Control + 1000 Logging Tags
SIMATIC WinCC Unified Runtime IPC Packages + Clients |  | MLFB | MLFB | Note
| WinCC Unified PC RT (150) + 1 Client Package | n.a. | 6AV2155-3DV02-4AA0 | Include Parameter Control + 100 Logging Tags + 1 Client Operate aggiuntivo
| WinCC Unified PC RT (150) + 2 Client Package | n.a. | 6AV2155-3DW02-4AA0 | Include Parameter Control + 100 Logging Tags + 2 Client Operate aggiuntivo
| WinCC Unified PC RT (500) + 1 Client Package | n.a. | 6AV2155-1EV02-4AA0 | Include Parameter Control + 200 Logging Tags + 1 Client Operate aggiuntivo
| WinCC Unified PC RT (500) + 2 Client Package | n.a. | 6AV2155-1EW02-4AA0 | Include Parameter Control + 200 Logging Tags + 2 Client Operate aggiuntivo
https://support.industry.siemens.com/cs/de/en/view/99860269

## Opzioni PI
SIMATIC WinCC Unified V20 Plant Intelligence Options
|  | Download | Package
SIMATIC WinCC Unified Calendar & Performance Insight |  | MLFB | MLFB | Note
| WinCC Unified Calendar Base V20 | 6AV2156-0BC02-4LA0 | n.a. | Include 3 calendari | 0
| WinCC Unified Calendar Extension (1) | 6AV2156-1JC00-0LB0 | n.a. | Indipendente dalla versione | 750
| WinCC Unified Calendar Base Upgrade | 6AV2156-0BC32-4LA0 | n.a. | V18, V19 ➡ V20 | 0
| WinCC Unified Performance Insight Base V20 | 6AV2156-0BP02-4LA0 | n.a. | Include 3 istanze di Plant Objects con KPI | 0
| WinCC Unified Performance Insight Extension (10) | 6AV2156-2CP00-0LB0 | n.a. | Indipendente dalla versione | 1249
| WinCC Unified Performance Insight Extension (30) | 6AV2156-6CP00-0LB0 | n.a. | Indipendente dalla versione | 3122
| WinCC Unified Performance Insight Extension (100) | 6AV2156-2DP00-0LB0 | n.a. | Indipendente dalla versione | 9366
| WinCC Unified Performance Insight Extension (300) | 6AV2156-6DP00-0LB0 | n.a. | Indipendente dalla versione | 24974
| WinCC Unified Performance Insight Base Upgrade | 6AV2156-0BP32-4LA0 | n.a. | V18..V19 ➡ V20 | 0
| WinCC Unified V19 PI Options Promotion Package | 6AV2155-1CP02-4LA0 | n.a. | Include Calendar Base, Performance insight Base | 0
| WinCC Unified V19 PI Options Promotion Package Upgrade | 6AV2155-4PJ32-4LA0 | n.a. | V18..V19 ➡ V20, Include Upgrade per Calendar Base, Performance insight Base | 0
SIMATIC WinCC Unified Sequencer & Line Coordination |  | MLFB | MLFB | Note
| WinCC Unified Sequence Base V20 | 6AV2156-0BS02-4LA0 | n.a. | Include 3 Sequencers, Special Sales Release | 0
| WinCC Unified Sequence Extension (5 Sequencers) | 6AV2156-1CS00-0LB0 | n.a. | Special Sales Release | 1593
| WinCC Unified Sequence Base Upgrade | 6AV2156-0BS32-4LA0 | n.a. | V19 ➡ V20, Special Sales Release | 0
| WinCC Unified Line Coordination Base V20 | 6AV2156-0BL02-4LA0 | n.a. | Special Sales Release | 0
| WinCC Unified Line Coordination (5 Units) | 6AV2156-1CL00-0LB0 | n.a. | Special Sales Release | 1911
| WinCC Unified Line Coordination (10 Units) | 6AV2156-2CL00-0LB0 | n.a. | Special Sales Release | 3185
| WinCC Unified Line Coordination (50 Units) | 6AV2156-1DL00-0LB0 | n.a. | Special Sales Release | 12737
| WinCC Unified Line Coordination Base Upgrade | 6AV2156-0BL32-4LA0 | n.a. | V19 ➡ V20, Special Sales Release | 0
| WinCC Unified Plant Intelligence Options Basis SES + LCS V19 | 6AV2155-1SL02-4LA0 | n.a. | Special Sales Release | 0
| WinCC Unified SES + LCS Base Upgrade | 6AV2155-4LJ32-4LA0 | n.a. | V19 ➡ V20, Special Sales Release | 0

## SIMATIC NET
SIMATIC NET V20
|  | Download | Package
SIMATIC NET V19 Full License |  | MLFB | MLFB | Note
| SOFTNET-IE S7 V20 | 6GK1704-1CW24-0AK0 | 6GK1704-1CW24-0AA0 | Fino a 64 connessioni S7. 10 connessioni già incluse nel RT
| SOFTNET-IE S7 Extended V20 | 6GK1704-1BW24-0AK0 | 6GK1704-1BW24-0AA0 | Fino a 255 connessioni S7-300/400, fino a 512 connessioni S7-1200/S7-1500. 10 connessioni già incluse nel RT
| HARDNET-IE S7 V20 | 6GK1716-1CB24-0AK0 | 6GK1716-1CB24-0AA0 | Fino a 120 connessioni con scheda CP1623. 10 connessioni già incluse nel RT

## TIA UMC
TIA Portal User Management Component (UMC Server)
|  | Download | Package
UMC Server rental 365 giorni |  | MLFB | MLFB | Note
| UMC Rental License 365 days, 100 Users | 6ES7823-1UE30-0YA0 | n.a. | Licenza valida 365 giorni, rinnovo automatico, i primi 10 utenti sono gratuiti
| UMC Rental License 365 days, 4.000 Users | 6ES7823-1UE10-0YA0 | n.a. | Licenza valida 365 giorni, rinnovo automatico, i primi 10 utenti sono gratuiti
UMC Server perpetual |  | MLFB | MLFB | Note
| UMC Single License, 100 Users | 6ES7823-1UE31-0YA0 | n.a. | Licenza perpetua, i primi 10 utenti sono gratuiti
| UMC Single License, 1.000 Users | 6ES7823-1UE21-0YA0 | n.a. | Licenza perpetua, i primi 10 utenti sono gratuiti
| UMC Single License, 4.000 Users | 6ES7823-1UE11-0YA0 | n.a. | Licenza perpetua, i primi 10 utenti sono gratuiti